## Slide 1: Update on GRINCH NIM – T. Averett 3/4/2026
Design: high-rate environment - segmented PMT array, large angle side, timing based - VETROC
The online and offline work was largely done by Maria Satnik (Now at LBNL) – Thank you !!
Status: First draft 80% complete
Based on GMn, SBS-9, below pion threshold
Gas: C4F8 – 1atm, pion threshold 2.7 GeV
Title: A Gas Cherenkov Counter for a Large Angular Acceptance
Magnetic Spectrometer in a High Background Environment

## Slide 2: Missing or In-progress Items
Abstract, Conclusion – Todd
Clarification of Rates – Todd/Eric
  Scalers - not on all runs
  Number of events in VETROC per trigger – threshold dependent
  Timing background in LE timing
Some geometry information from simulation – Todd, Eric
Clarification of coordinate systems - Todd, Eric
NINO threshold in volts, % of spe – Todd
Additional DAQ details, – Alex
Simulation details – Eric/Andrew
Thanks: Lots of information from Eric is mostly in my hands, just not included yet

## Slide 3: Missing or In-progress Items, con’t
pi/e ratios – Eric
Clarification of clustering algorithm – Andrew
Heat map of event rate at entrance window – Eric
Add simulated track matching plots – Eric
Estimate of false events in cluster, timing window – Todd/Eric/Andrew
Largest Remaining Item: Analysis plots and efficiency calculations need to be redone using updated timing calibration – Andrew, on his (enormous) to-do list

## Slide 4: Overview of Sections
Introduction: SBS program – large luminosity, background drives design
  510 PMT, 1” diameter” array located on large angle side
  “non-focusing” design w/ cylindrical mirrors
  Timing-based analysis
BigBite Spectrometer overview
Credit: Anu

## Slide 5: Overview of Sections, con’t
Cherenkov Design
  Overview/Geometry/Mirrors – non-focusing vertically
  PMTs and light catchers
  Magnetic shielding
  Radiator gas choice and gas panel
  DAQ – commissioned VETROC, NINO

## Slide 6: Overview of Sections, con’t
Side/rear view with mirrors out
Front view of mirrors

## Slide 7: Overview of Sections, con’t
Light catchers
Magnetic
shielding

## Slide 8: Overview of Sections, con’t
Radiator Gas: C4F8 at atmospheric pressure, pion threshold 2.7 GeV
  W&M studies of candidate gases – non-toxic, non-flammable, transparent in UV/VIS, large index, affordable
Measured at W&M

## Slide 9: Overview of Sections, con’t
DAQ: Commissioned VETROC, NINO
  Sparce in some sections

## Slide 10: Overview of Sections, con’t
Simulation
  Description needed
  Pi/e ratio, # pe’s, cluster size multiplicity, track matching, efficiencies
  More results?
  Clustering algorithm

## Slide 11: Performance: Maria’s Analysis
Cluster size
ToT
Track Matching
Note: single tube rate 600 kHz – 1 MHz

## Slide 12: Money Plots
>= 3-tube cluster efficiencies:
Electron detection, 97%
Pion rejection, 96%
Design requirements:
Electron > 95% detection
Pion > 90% rejection
Maria’s Analysis:

## Slide 13: Upcoming improvement
This shows the improved timing resolution from Andrew ~ 4x
  Not used by Maria
Need to re-make analysis plots using this information
  Efficiency likely unchanged

## Slide 14: To Do:
Repeat analysis with improved timing - Andrew
  Which parts?
    Timing calibration
    Number of tubes/per cluster
    ToT
    Track matching
    Efficiencies vs. cluster size, timing window
      Maria used +/- 30 ns
Clustering description - Andrew
Background rates - Todd
  Scalers – not available for much of kinematics, DAQ threshold?
  Out of time rates – From analysis, NINO threshold
  VETROC – as a scaler ??

## Slide 15: To Do, con’t:
Simulation - Eric/Andrew?
  Description
  Compare to final analysis plots
    N_pe per cluster/tube
    N_tubes per cluster
DAQ - Alex
  More thorough description – Alex

## Slide 16: Question
Should we include an analysis from data with events above pion threshold?
GEn Kin 3 where pe = 2.2-3.2 GeV
Results look similar (Jack Jackson’s analysis)
Calculate efficiencies after next pass analysis

## Slide 17: Hope to finish this semester/summer
M. Satnik, A. Ahmidouch, B. Aljawarneh, J. Annand, T. Averett, C. Ayerbe,
A. Camsonne, S. Danagoulian, E. Fuchey, R. Montgomery, G. Nicelescu, A. Puckett
B. Wojtsekhowski, B. Yale, H. Yao
Author List: Let me know if you think you should be included

## Slide 18: Title

## Slide 19: Title

## Slide 20: Title

## Slide 21: Title

## Slide 22: Title