## Slide 1: Machine-Learning Enhanced Polarization Extraction and Manipulation
Devin Seay

## Slide 2: Outline
Polarization Extraction Methods
Neural Networks
Results for Vector Polarization Extraction
ML-Powered Spin-1 Manipulation and Extraction

## Slide 3: Background
Traditional Extraction performed with Liverpool-style Q-meter systems
Signal extracted as real part of output signal
  : magnetic susceptibility
  : absorption function

## Slide 4: Calibration Constant (CC)
Linear response of Q-Meter  CC acts as mapping between Polarization
For Spin-1, analytical lineshape can be formuled to simulated lineshapes for a given polarization:
   Gives truth value directly for polarization
Spin-1/2:
  No analytical lineshape in terms of polarization, requires baseline (experimental CC’s, e.g.) for simulation

## Slide 5: Polarization Extraction (Spin-1/2)
Additional Sources of Error:
  Polynomial Fit / Subtraction ~ 1%
  TE CC: ~1-2%
Thermal Equilibrium
  JLab E08-007 (10.1016/j.nima.2013.06.103):
    TE area error: 1.61%
    Polynomial fit / substraction: 0.75%
    Overall 3.9% including CC and instrument errors

## Slide 6: Polarization Extraction (Spin-1)
Additional Sources of Error:
  Polynomial Fit / Subtraction ~ 1%
  Wing subtraction ~ 1%
  False Asymmetry ~1%
Lineshape-Fitting Method
  Dulya 14ND3(10.1016/S0168-9002(97)00317-3) (Not applied at TE):
    Enhanced TE Fit error of 3%, overall 5%
  Smallest 14ND3 Fit error: Adams, TE: Fit error of 0.83% with overall 2.0% error (10.1016/S0168-9002(99)00582-3)
    Done by fitting area, not lineshape – not conventional!
    Averaged over 100 signals (super-TE) – took several days to obtain one point of data
Additional errors from thermometry, Q-Meter response, and other additional systemic effects are included:
   Smallest directly relevant fit errors not single universal numbers

## Slide 7: Artificial Neural Networks

## Slide 8
Loss Function:
Minimize:

## Slide 9: Goals
Increase accuracy and precision (for spin ½ and 1)
  Reduce extraction errors
    Baseline subtraction
    Polynomial subtraction
    Lineshape fitting
Achieve reliable results even with large range of noise and shifts
Develop flexible software that improves reliability even when working Q-meter outside its design specifications
Enable real-time polarization readings
Apply to ss-RF/AFP type manipulations

## Slide 10: Why Neural Networks?
Most Flexible ML approach to regression problems (UAT)
Very fast inference is possible (~ms scale updates with standard GPU)
  More accurate real-time polarization monitoring
Can do more with multidimensional information
Common libraries help to leverage basic hardware (CUDA, ONNX, Metal, etc.)

## Slide 11: Types of Models Used
For Extraction:
  Spin-1 Polarization:
    TE-2%: CNN-based model
    2-60%: MLP-based model
  Spin-1/2 Area:
    TE-100%: MLP-based model (very simple)
Additional: Denoising
  Use Denoising Autoencoder (DAE) to remove noise from NMR lineshapes (Spin-1 for now)

## Slide 12: Data Generation
Spin-1 lineshape modeled from Dulya’s analytical formula, with parameters varied
Spin-1/2 modeled as Voigt function (parameters varied)
Baseline simulated from (varied) Q-Meter circuitry parameters
  U: Voltage
  : Stray capacitance
  : Capacitance
  : Current (Constant)
  : Phase
  : Filling Factor (of coil)
  : Cable length
  -> U, Capacitance, Phase, Filling Factor, & Cable Length all varied!
Signal-To-Noise Ratio:
  Noise simulated with measured values from experimental baselines (For Gaussian, ~)
  Residuals shifts

## Slide 13: Performance Metrics

## Slide 14: Results

## Slide 15
TE-1% Fit
Polarization Extraction (Spin-1)
https://arxiv.org/abs/2603.10146
Low Noise: )
High Noise: )

## Slide 16
Polarization Extraction (Spin-1)

## Slide 17
Area Extraction (Spin-1/2)
Only looking at TE region (0.1% - 0.8%)
(Riemann Sum)
Low Noise: )
High Noise: )

## Slide 18
Denoising Autoencoder
Experimental
https://arxiv.org/abs/2603.10146

## Slide 19: Tensor Polarization

## Slide 20: Ongoing
ML Polarization Extraction from manipulated lineshapes:
  Including ss-RF/AFP manipulation
  Enables extraction of both vector and tensor simultaneously

## Slide 21
Semi-Saturated Radiofrequency (ss-RF)
https://arxiv.org/abs/1707.07065

## Slide 22
Adiabatic Fast Passage (AFP)
10.1016/j.nima.2023.168177

## Slide 23: Ongoing
Reinforcement Learning to optimize tensor polarization (Pzz)
  Using SARSA (State-Action-Reward-State-Action) algorithm
    Modified on-policy Q-Learning algorithm
      Q: Expected long-term return for a given action a in a given state s
ML Polarization Extraction from manipulated lineshapes:
  Including ss-RF/AFP manipualtion
Q-Learning
SARSA

## Slide 24
Preliminary Results (AFP/ss-RF ML)

## Slide 25: A Big Thanks To Everyone!
…and more!

## Slide 26: Thank you!
This work was supported by DOE contract DE-FG02-96ER40950.