## Slide 1
McClellan, Eur. Phys. J. A 61, 176 (2025)
Chhetra Lama, Dr. James Maxwell, Dr. Elena Long
Updates to the JLab Q Meter Software
Fully Imaginary Deuteron NMR signal

## Slide 2
08/22/2025 Proposal Defense Chhetra Lama
08/22/2025 Proposal Defense Chhetra Lama
Outline
Dulya et al., NIM A 398, 109 (1997)
https://github.com/jdmax/jlab_pynmr
McClellan, Eur. Phys. J. A 61, 176 (2025)
Conclusion
James Software
06/30/2026 CLAS Collaboration

## Slide 3: Motivation
Current Status:
  Absorptive and dispersive both function are used to analyze the signal
  False asymmetry and scaling both version are used to analyze the Polarization
08/22/2025 Proposal Defense Chhetra Lama
Goal: Get more accurate value of Polarization; reduce systematic uncertainties, tackle off-phase signal
Dulya et al., NIM A 398, 109 (1997)
https://github.com/jdmax/jlab_pynmr
McClellan, Eur. Phys. J. A 61, 176 (2025)
Jlab data
UNH data
06/30/2026 CLAS Collaboration

## Slide 4: Motivation continued
08/22/2025 Proposal Defense Chhetra Lama
Dulya et al., NIM A 398, 109 (1997)
https://github.com/jdmax/jlab_pynmr
McClellan, Eur. Phys. J. A 61, 176 (2025)
06/30/2026 CLAS Collaboration

## Slide 5: Fitting Principle on Current Software
08/22/2025 Proposal Defense Chhetra Lama
Dulya et al., NIM A 398, 109 (1997)
https://github.com/jdmax/jlab_pynmr
McClellan, Eur. Phys. J. A 61, 176 (2025)
06/30/2026 CLAS Collaboration

## Slide 6: Upgrading to Complex Fit
08/22/2025 Proposal Defense Chhetra Lama
Dulya et al., NIM A 398, 109 (1997)
https://github.com/jdmax/jlab_pynmr
McClellan, Eur. Phys. J. A 61, 176 (2025)
False asymmetry term is removed with
06/30/2026 CLAS Collaboration

## Slide 7
08/22/2025 Proposal Defense Chhetra Lama
08/22/2025 Proposal Defense Chhetra Lama
Why ?
Dulya et al., NIM A 398, 109 (1997)
https://github.com/jdmax/jlab_pynmr
McClellan, Eur. Phys. J. A 61, 176 (2025)
Quicker Computation Time
More accurate over all range of P
06/30/2026 CLAS Collaboration

## Slide 8
08/22/2025 Proposal Defense Chhetra Lama
08/22/2025 Proposal Defense Chhetra Lama
Fit with and w/o dispersive function continued
Dulya et al., NIM A 398, 109 (1997)
https://github.com/jdmax/jlab_pynmr
McClellan, Eur. Phys. J. A 61, 176 (2025)
w/o dispersive function
With dispersive function
RGC 2022 data
2 % relative difference
06/30/2026 CLAS Collaboration
RGC E12-06-109 Spokespersons
Crabb, Deur, Dharmawardane, Forest, Griffioen, Holtrop, Kuhn, Prok

## Slide 9
08/22/2025 Proposal Defense Chhetra Lama
08/22/2025 Proposal Defense Chhetra Lama
Complex Fit
Dulya et al., NIM A 398, 109 (1997)
https://github.com/jdmax/jlab_pynmr
McClellan, Eur. Phys. J. A 61, 176 (2025)
%
Phase = 118
%
Phase = 118
06/30/2026 CLAS Collaboration

## Slide 10
08/22/2025 Proposal Defense Chhetra Lama
08/22/2025 Proposal Defense Chhetra Lama
Dulya et al., NIM A 398, 109 (1997)
https://github.com/jdmax/jlab_pynmr
McClellan, Eur. Phys. J. A 61, 176 (2025)
Complex Fit continued
%
Phase = -108
04:15AM
04:19AM
%
Phase = -0.59
06/30/2026 CLAS Collaboration

## Slide 11
08/22/2025 Proposal Defense Chhetra Lama
08/22/2025 Proposal Defense Chhetra Lama
Conclusion
06/03/2026 Tensor SIDIS workshop and b1/Azz Tensor Collaboration meeting
Dulya et al., NIM A 398, 109 (1997)
https://github.com/jdmax/jlab_pynmr
McClellan, Eur. Phys. J. A 61, 176 (2025)
Complex signal implementation will follow data more closely than with out it.
This will help us reduce the systematic uncertainties in the future experiment Run Group C.
This can be found in github.
It has more fitting parameters but faster calculation with

## Slide 12
Dulya et al., NIM A 398, 109 (1997)
Backup Slides
M. McClellan, Ph.D. thesis, Uninversity of New Hampshire, 2026

## Slide 13
08/22/2025 Proposal Defense Chhetra Lama
08/22/2025 Proposal Defense Chhetra Lama
06/03/2026 Tensor SIDIS workshop and b1/Azz Tensor Collaboration meeting
Dulya et al., NIM A 398, 109 (1997)
https://github.com/jdmax/jlab_pynmr
McClellan, Eur. Phys. J. A 61, 176 (2025)
Complex Fit continued
M. McClellan, Ph.D. thesis, University of New Hampshire, 2026
Note:I will put real fit also
For this date data
I will put fit for these two location
Backup Slides

## Slide 14
08/22/2025 Proposal Defense Chhetra Lama
08/22/2025 Proposal Defense Chhetra Lama
06/03/2026 Tensor SIDIS workshop and b1/Azz Tensor Collaboration meeting
Dulya et al., NIM A 398, 109 (1997)
https://github.com/jdmax/jlab_pynmr
McClellan, Eur. Phys. J. A 61, 176 (2025)
Complex Fit continued
04:15AM
04:19AM
%
Phase = -0.59
%
Phase = -108
Backup Slides

## Slide 15
08/22/2025 Proposal Defense Chhetra Lama
08/22/2025 Proposal Defense Chhetra Lama
06/03/2026 Tensor SIDIS workshop and b1/Azz Tensor Collaboration meeting
Dulya et al., NIM A 398, 109 (1997)
https://github.com/jdmax/jlab_pynmr
McClellan, Eur. Phys. J. A 61, 176 (2025)
There are two types of the plots in the simulation I am confused and which one is correct??
From slide number 13 to 17
Backup Slides

## Slide 16
08/22/2025 Proposal Defense Chhetra Lama
08/22/2025 Proposal Defense Chhetra Lama
06/03/2026 Tensor SIDIS workshop and b1/Azz Tensor Collaboration meeting
Dulya et al., NIM A 398, 109 (1997)
https://github.com/jdmax/jlab_pynmr
McClellan, Eur. Phys. J. A 61, 176 (2025)
Backup Slides

## Slide 17
08/22/2025 Proposal Defense Chhetra Lama
08/22/2025 Proposal Defense Chhetra Lama
06/03/2026 Tensor SIDIS workshop and b1/Azz Tensor Collaboration meeting
Dulya et al., NIM A 398, 109 (1997)
https://github.com/jdmax/jlab_pynmr
McClellan, Eur. Phys. J. A 61, 176 (2025)
Backup Slides
Backup Slides