## Slide 1: CTOF Off-Project Proposed Work
The cosmic ray testing plans that will take place off project include:
Detailed studies of time resolution vs. coordinate and angle for all counters
Studies to minimize CFD contribution to time resolution
Time-dependent calibration optimization of time resolution
CTOF calibration suite development (in progress)
CTOF reconstruction suite development (in progress)
Preparation of technical reports/papers
Development and optimization of light monitoring system
Long base-line monitoring of system performance and stability
Calibration development off-project similar in scale to work on FTOF system
20% FTE scientist level
(DSC)