## Slide 1: MPGD basics
Seungjoon Lee
8/19/2026

## Slide 2: Ionizing Gas Detector
An ionizing gas detector (or gas-filled radiation detector) measures ionizing radiation
by creating and collecting electrical charges (ion pairs) produced when gas molecules are ionized

## Slide 3: MPGD history
Micro Pattern Gas Detector
Mechanical stability
Finer pitch
Uniformity
Multi wire proportional chamber (MWPC)
Wire mechanical instability
Spark damage
Resolution/Gain limit

## Slide 4: Triple GEM
GEM foil
E field of GEM foil

## Slide 5: Suggested Prototype
Ar/CO2
Ar/CO2
beta
beta
Readout PCB
Typical Prototype
RhizoBeta Prototype
Entrance Window
Cathode
Cathode
GEMs
GEMs

## Slide 6: Cathode Layer
Conductor material
Copper, Gold, Aluminum, DLC, Chromium …
Film Material
Kapton, Mylar, ROHACELL

## Slide 8: backup

## Slide 10: Readout system
Strip Readout
Optimal number of channel
Pad (pixel) Readout
-too many readout channel
Ghost event
Result image using X-ray (mouse)