## Slide 1: RhizoBeta Bi-Weekly Meeting
9/30/2026
Seungjoon Lee

## Slide 2: Update from Jlab
Subcontract UCSC/MSU
In progress for hiring postdoc.
Ready to purchase beta sources
  C-14 (156max – 50ave keV)
  Pm-147 (225max – 62ave keV)
  Na-22 (545max – 215ave keV)
  Tl-204 (763max – 237ave keV)
Ready to purchase Gold cathode (3 micron Kapton)
In progress to get quote for MPGD PCB from CERN
In progress to design prototype from existing MPGD
DAQ system update from Eric

## Slide 3: Design of MPGD with gold cathode
Custom top cover (yellow) with gold cathode layer
HV from the top
Cannot adjust drift gap -> Custom gas frame (grey)
Hard be coupled with rhizotron -> New design for rhizotron
This will be baseline test to optimize/charactierize detector for each beta energy
Ar/CO2
Cathode (2~5 um)
GEMs
HV