## Slide 1: EG6: EC Calibration
Using reconstructed π0 and η to calibrate for energy and position of individual photons
Frank Thanh Cao
UConn
Notes: Meson production of eta, pi0

## Slide 2: Shifted π0ECEC Invariant Mass
When identifying the π0, which are reconstructed by two EC photons, the invariant mass is shifted by ~ 20%.
Notes: The first step was to break this down by run number to see if there is any particular run that is shifting this mass to be larger…

## Slide 3: π0ECEC Breakdown by Run Index

## Slide 4: π0ECEC: Inv. Mass vs. Run Number by Sector
Notes: After trying to figure this out and meeting with Kawtar, Whit, and Mohammad, we concluded that the best person was to talk to was Cole Smith. We exchanged emails and I was reminded that there is an EC sampling fraction correction made. The fraction of the energy deposited should not vary in time, but it does due to experimental imperfections. I was also reminded that Nathan did an extensive analysis on this and Mohammad had given me this some time ago...

## Slide 5: EG6 Sampling Fraction Correction vs. Run Number by Sector
(from Nathan Baltzell)
Notes: Since the EC is a sampling calorimeter, only energy in the scintillators are

## Slide 6: π0ECEC: Inv. Mass vs. Run Number by Sector After Corrections

## Slide 7: π0ECEC Closer Look
Can this be improve?

## Slide 8: π0ICIC Closer Look

## Slide 9: π0ECEC Mass Changes with Energy
https://userweb.jlab.org/~fcao/images/invMassByBin.gif

## Slide 10: π0ECEC Mass Changes with Energy

## Slide 11: Scaling Factor
The correction to the photon energy is
If we take the symmetric case, where E1 ~= E2 =: E, and solve for cSF , in terms of the energy of the reconstructed π0 , we have
With
Notes: Assuming that the position is well calibrated

## Slide 12: Scaling Factor vs. Average Photon Energy
Notes: Explain Candleplot

## Slide 13: Scaling Factor Correction

## Slide 14: Scaling Factor Results
Low Energy (E ≤ 1.8 GeV)
High Energy (E > 1.8 GeV)
No Symm. Cut
With Symm. Cut

## Slide 15: Scaling Factor Results

## Slide 16: Scaling Factor Results
Before
After
Scale Factor Vs. Energy
Scale Factor Vs. Energy
https://userweb.jlab.org/~fcao/

## Slide 17: Scaling Factor Results
Before
After
Mass vs Energy
Mass (Stepping
through Energy)
https://userweb.jlab.org/~fcao/images/invMassByBin.gif
https://userweb.jlab.org/~fcao/images/invMassByBin_After.gif

## Slide 18: π0ECEC Results
The π0ECEC invariant mass is much closer to where it should be and photon energies in the EC have been corrected.
Ultimately, with a better handle on the EC photon, we can have more confidence in reconstructing both π0 and η in the EC.
After
Before

## Slide 19: Invariant Mass of EC Photon Pairs
https://userweb.jlab.org/~fcao/images/invMassByBin_fullRangeAfter.gif

## Slide 20: ηECEC Dominated by Background

## Slide 21: ηECEC with Energy Cut

## Slide 22: Statistics Lost with Energy Cut

## Slide 23: ηECEC Breakdown

## Slide 24: ηECEC Breakdown

## Slide 25: Without Energy Cut, With Correlation Cut

## Slide 26: Without Energy Cut, With Correlation Cut

## Slide 27: ηECEC: Invariant Mass Distribution for Eη > 1.0 GeV

## Slide 28: ηECEC: Invariant Mass Distribution for Eη > 1.5 GeV

## Slide 29: ηECEC: Invariant Mass Distribution for Eη > 2.5 GeV

## Slide 30: ηECEC: Signal to Background Vs. Energy Threshold

## Slide 31: Conclusion and Outlook
Using reconstructed π0 and η, we set constraints on the reconstructed photons in the EC
With a good handle on the photons in the EC we have added statistics to DVCS and DVMP processes
Signal to Noise Ratio studies hint at using an energy threshold for η reconstruction
We plan to use exclusivity cuts to further improve our confidence in π0 and η candidates and further improve the EC calibration

## Slide 32: Backup Slides
Because you never know what questions you’re going to get
Notes: Meson production of eta, pi0

## Slide 33: Scaling Factor vs. Average Photon energy

## Slide 34: Photon Pair Opening Angle

## Slide 35: Correlation Cut Only

## Slide 36: Sector Pair with Leading Energy
https://userweb.jlab.org/~fcao/

## Slide 37: Exclusivity Studies
pi0
DVCS
Eta
pi0
DVCS
eta
Incoherent Channel:
Coherent Channel: