## Slide 1
Technology Transfer -
A Dilon Perspective after 20 years
Jefferson Lab In-House Tech Transfer Workshop
March 22, 2018

## Slide 2
  History
  Technology
  Timing
  Branding
  Outline

## Slide 3
Cardiac Perfusion Imaging
Introduced in 1991
Developed at MIT as a cardiac imaging agent
Technicium-99m sestamibi
Licensed by DuPont, sold as Cardiolite
  History

## Slide 4
Scintimammography
Focal uptake seen in some women
Shown to be breast cancer
  History

## Slide 5
Scintimammography
Limited success (> 1 cm size)
Large cameras, patient far from detector
  History

## Slide 6
JLAB
NIH requested assistance
Development continued on-site
Research prototype completed
  History

## Slide 7
    Dilon Technologies
  History
Cardiolite shown to enhance breast lesions
Shortcomings of conventional gamma cameras as breast imagers
Novel gamma detector developed at Jefferson Lab

## Slide 8
    Dilon Technologies – Dilon 6800 camera
  History

## Slide 9
    JLAB Licensed Technology
    Position Sensitive Photomultiplier Tube (PSPMT)
        Resistive (Anger) network
        48 x 12 anodes -> 16 channels
    Pixelated NaI(Tl) crystal
      64 x 48 pixels
    Calibration software
      Crystal map
      Energy map
      Flood calibration
  Technology

## Slide 10
    Standard Anger Camera Technology
  Technology
Y+
Y-
X+
X-

## Slide 11
    Standard Anger Camera Technology
  Technology
Y+
Y-
X+
X-

## Slide 12
    Standard Anger Camera Technology
  Technology
Y+
Y-
X+
X-

## Slide 13
    Standard Anger Camera Technology
  Technology

## Slide 14
    JLAB/Dilon Camera Technology
  Technology
PSPMT
Resistive Network
Pixelated NaI(Tl)

## Slide 15
    JLAB/Dilon Camera Technology
  Technology
Signal
Strength

## Slide 16
    JLAB/Dilon Camera Technology
  Technology
Signal
Strength

## Slide 17
Breast placed directly on detector
Collimator optimized for near field
Very small “dead-space”
CC & MLO views can be compared directly with mammogram
  Technology
Craniocaudal (CC) View
Mediolateral-oblique (MLO) View

## Slide 18
    Position Sensitive Photomultiplier Tubes (48)
  Technology

## Slide 19
    Pixelated NaI(Tl) crystals
    48 x 64 = 3072
  Technology

## Slide 20
    Standard Anger Camera Image
  Technology

## Slide 21
    JLAB/Dilon Camera Image
  Technology

## Slide 22
    JLAB/Dilon Camera Image
  Technology

## Slide 23
    GammaLoc System with Slant-Hole Collimator for biopsy guidance
  Technology
Lesion
Breast
Gamma Camera
Left View

## Slide 24
    GammaLoc System with Slant-Hole Collimator for biopsy guidance
  Technology
Breast
Gamma Camera
Right View
Lesion

## Slide 25
    GammaLoc System with Slant-Hole Collimator for biopsy guidance
  Technology

## Slide 26
1996 Company formed to commercialize local technologies
1997 Base technology for breast imaging licensed from Jefferson Lab
1998 I joined Dilon
1999 Clinical testing began, Dilon 6800 510(k)
2004 First customer shipment
2005 First European Shipment
2006 CE Mark
2007 First China and Korean shipments
2008 100th camera shipped
2009 GammaLōc 510(k)
  Timing

## Slide 27
1996 Company formed to commercialize local technologies
1997 Base technology for breast imaging licensed from Jefferson Lab
1998 I joined Dilon
1999 Clinical testing began, Dilon 6800 510(k)
2000 Y2K
2001 911
2004 First customer shipment
2005 First European Shipment
2006 CE Mark
2007 First China and Korean shipments
2008 100th camera shipped
2009 GammaLōc 510(k)
  Timing

## Slide 28
1996 Company formed to commercialize local technologies
1997 Base technology for breast imaging licensed from Jefferson Lab
1998 I joined Dilon
1999 Clinical testing began, Dilon 6800 510(k)
2004 First customer shipment
2005 First European Shipment
2006 CE Mark
2007 First China and Korean shipments
2008 100th camera shipped
2009 GammaLōc 510(k)
  Timing

## Slide 29
1996 Company formed to commercialize local technologies
1997 Base technology for breast imaging licensed from Jefferson Lab
1998 I joined Dilon
1999 Clinical testing began, Dilon 6800 510(k)
2004 First customer shipment
2005 First European Shipment
2006 CE Mark
2007 First China and Korean shipments
2008 100th camera shipped
2009 GammaLōc 510(k)
2009 ACA passed, med dev tax, insurance denials, radiation concerns, competing technology (Contrast Mammo, Automated Breast Ultrasound)
  Timing

## Slide 30
1996 Company formed to commercialize local technologies
1997 Base technology for breast imaging licensed from Jefferson Lab
1998 I joined Dilon
1999 Clinical testing began, Dilon 6800 510(k)
2004 First customer shipment
2005 First European Shipment (16 total)
2006 CE Mark
2007 First China (39 total) and Korean (14) shipments
2008 100th camera shipped
2009 GammaLōc 510(k)
2009 ACA passed
2015 ACA enacted
  Timing

## Slide 31
2014 Purchased Navigator Gamma Probe Product
2016 Distribution agreement for Discovery NM760b
2017 Purchased Laryngoscope Product
  Timing

## Slide 32
    JLAB Licensed Technology
    Dilon 6800 (6” x 8” detector)
    Other Licensed Technology
    Naviscan (6800 Smart Shield & GammaLoc)
    U of Michigan (GammaLoc)
    Developed Technology
    GammaLoc (Biopsy Guidance)
    Acella (8” x 10” detector)
  Branding

## Slide 33
    Acquired Technology
    Navigator Gamma Probes (2014 RMD)
    CoPilot Video Laryngoscope (2017 Magaw)
    Distributed Technology
    DeclipeSPECT Freehand SPECT (SurgicEye)
    Cardius Cardiac Camera (Digirad)
    CoTI I-131 Thyroid Therapy Monitor (AG Medical)
    Discovery NM750b Dual Headed Breast Imager (GE)
  Branding

## Slide 34
    Good Technology, with a clinical need
    Innovation lead to smaller size
    Smaller size lead to better results
    Diversify
    Markets - requirements
      US - FDA
      Europe – CE
      Asia – In-country testing
      ISO 13485 / Product testing / continuously changing
    Products
      Dilon 6800 – Licensed
      Dilon GammaLoc – Developed
      Navigator & CoPilot – Purchased
      DeclipseSPECT, CoTI, Discovery NM760b (GE) - Distribution
  Conclusions

## Slide 35
Thank You