## Slide 1
Charged Particle Tracking Resolution
Measure angle and curvature of trajectory
  accuracy of position at Region 1
    position of chambers
    accuracy of hit reconstruction
  accuracy of curvature
    - position of chambers
    accuracy of hit reconstruction
  accuracy of
Projects
Alignment
Time  Dist. Calibration
Modelling of B-field
dQ

## Slide 2
Charged Particle Tracking: Resolution Goals
Momentum Resolution:
Ideal B-Field
DC resolution ~ 250 mm
Ideal DC alignment
Best at small theta
  highest B-field
dp/p Goal: ~ 0.3%
the best we can do
Most important part of phase-space for missing-mass resolution

## Slide 3
DW (GeV)
0.1
dp/p = 1%
dq = 1 mrad
0.05
Width of elastic peak  resolution
dp/p = 1%  100 MeV shift
dq = 0.001  20 MeV shift
70 MeV width of elastic peak (s)*
    sp/p ~ 0.7% or
    sq ~ 3.5 mrad
    or some combination
*Fits of elastic peak (Fall 2018, inbending)
done by Stefan Diehl, Apr. 2019.
Pelectron
7.5
10.0
Size of W-Shift
What is our Momentum Resolution Now?

## Slide 4
10 GeV electron at 70
2 Tesla field X 2m
17 m radius of curvature
3 cm sagitta
measure sagitta to 0.3%
measure sagitta to 90 mm
3 measurements of 75 mm
B-field accuracy <0.2%
17 m
3 cm
sagitta
1 m
1 m
What is Needed to Achieve 0.3% Accuracy?
Hit resolution < 200 mm
Alignment < 50 mm
tight constraints !

## Slide 5
Distance  Time Function: Polynomial Form
T(x) = a x + b x2 + c x3 + d x4
Distance (cm)
2
Time (ns)
0
0
800

## Slide 6
Distance  Time Function: Polynomial Form
T(x) = a x + b x2 + c x3 + d x4
Simple calculus:
(a,b,c,d)  (V0, Vmid, R, Tmax)
Physically meaningful* parameters
Published data for V0, Vmid
Reality checks on fits
* “Electron Drift Velocity …” NIM A340 (1994) 485
Distance (cm)
2
Tmax
Dmax
00 300
inflection point =“R”
Minimum velocity = Vmid
Saturated velocity = V0

## Slide 7
Residual (cm)
DOCA (cm)
DC Hit Resolution
Run 5419*
low lum., fall 2018 run
R1  flat distribution
R2  not flat
fit with B-field parameters
R3  not flat
re-fit with different values of Tmax
Reg. 1
Reg. 2
Reg. 3
* Cooked with Taya Chetry’s default parameters
Not flat;
let’s take a closer look

## Slide 8
400 mm
300 mm
200 mm
s from slice fit
s = 320 mm
mean from slice fit
Residual (cm)
DOCA (cm)
Not flat
room for improvement
Intrinsic Resolution
~ 200 mm

## Slide 9
Project | Method | Sub-Projects
Calibrate time  distance improve hit resolution (now about 300mm for R1, R3, 400 mm R2) | Fit Use to fill table of distance Indexed by time | Cross-correlating parameters Concentrating on high-momentum electrons where we need best resolution ‘Best practices’ and convergence criteria New ‘residual-fit’ correction term
Project | Method | Sub-Projects
Calibrate time  distance improve hit resolution (now about 300mm for R1, R3, 400 mm R2) |  | Cross-correlating parameters Concentrating on high-momentum electrons where we need best resolution ‘Best practices’ and convergence criteria New ‘residual-fit’ correction term
Forward Track Resolution: Status
 Expect significant improvement in R2, R3 resolutions
  better fits, use of residual fits as fn. of time
 Re-calibration criteria based on atm. pressure
  strong correlations seen
better resolution
more consistent

## Slide 10: run 5297, Fall Alignment Vertices *
Unaligned
Aligned
Vertices same for all sectors
* Timothy Hayward’s slides from Spring ‘19 Collaboration Meeting

## Slide 11: run 5297, Fall Alignment Residuals
Mean RMS: 47 μm
Mean RMS: 41 μm
Mean RMS: 48 μm
Mean RMS: 39 μm
Mean RMS: 44 μm
Mean RMS: 44 μm
Chambers aligned to < 50 mm on average
aligned to < 100 mm in all angular bins
BEFORE
AFTER

## Slide 12: Fall Alignment Numbers
Shifts of a few mm
Rotations less than 1 mrad

## Slide 13
New, improved Kalman Fitter
approx. equal residuals for R1, R2, R3
(R3 previously was pulling fits)
But, this means that the alignment solution will change
Probably, R3 misalignment will increase and R1, R2 decrease
All alignment procedures are in place
 New, improved alignment soon
Run 5038
- cooked with new code
Fit Residual
Layer (1 – 36)

## Slide 14
Project | Method | Sub-Projects
Re-align Drift Chambers improve tracking ( original misplacements of ~2mm) | Fit residual mean offset patterns from “straight-track” data to a weighted sum of pre-calculated offset patterns caused by “unit displacements” of chambers | produce “unit distortion” tables of residual mean offsets vs. layer fit weighted sum to data calibrate ‘mini-stagger’ concentrate on small angles
Drift Chamber Alignment: Status
expect ‘re-alignments’ of > 100 mm
expect RMS of residual means < 65 mm in all angular bins
will concentrate on small-angle range

## Slide 15: Location Of Measurement Points*
Inner Holes (A): 30 cm From the Center
Outer Holes (B, C, and D): 46.5 cm From the Center
* Joseph Newton’s slides from Summer ‘18 Collaboration Meeting

## Slide 16
Sector 1 Hole A
Sector 1 Hole B
Sector 1 Hole C
Sector 1 Hole D
Black: Asymmetric (Current) Map
Red: Symmetric Map
Green: Old Map
agreement good at 46.5 cm
Notes: Radius Curvature Change 1.5 mm

## Slide 17
Sector 1 Hole A
Sector 1 Hole B
Sector 1 Hole C
Sector 1 Hole D
Black: Asymmetric (Current) Map
Red: Symmetric Map
Green: Old Map
Old map  ~ 3% low
New (symmetric) map  ~ 0.7% high
Sector-dependent map  ~ 0.2 – 0.7% high
Notes: Radius Curvature Change 1.5 mm

## Slide 18
Present work
adding an ‘s-wave’ to corner of
coil stack

## Slide 19: Forward Track Resolution: Status
Project Status | Near-term goal | Who*
Calibrate time  distance now about 300mm(s) for fit to +/- 0.5mm | 200 mm resolution (fit to +/- 0.5mm) 250 mm (average) ? | TC
Align Drift Chambers now < 100 mm at all angles reconstruction changes  re-align | chambers aligned to <50 mm for small angles ? | TH
Model torus B-field  now ~ 0.5 % accurate |  B-field accuracy of 0.2% ? | JN, Engineers
Credit to Joseph Newton and Timothy Hayward and Taya Chetry for great work