## Slide 1: CLAS12 Run Group C Jeopardy Review PAC 48 September 25, 2020
Sebastian Kuhn, Old Dominion University
for the Run Group and the CLAS collaboration
Notes: Image from PANDA

## Slide 2: Overview
Science goals of RG-C
  Inclusive DIS (double spin asymmetries)
  Semi-inclusive DIS
  TMDs
  DVCS
Status of Polarized Target and Beamline
  Target Design
  Present status
  Completion Plan
  Beamline components
Run Plan

## Slide 3: RG C Goals:
Measure inclusive spin structure functions (A1, g1) of the proton and deuteron
Combine with flavor tagging (π, K) to extract Dq in the valence and moderate-x sea regions, constrain DG
Provide anchor for PDF fits, higher twist and duality studies, and tests of fundamental sum rules
Measure spin- and transverse momentum-dependent (TMD) PDFs (SIDIS)
Measure target single and beam/target double spin asymmetries in p and n DVCS

## Slide 4: Approved Experiments in RG C
Total number of approved beam (PAC) days: 185 (120 p, 60 d, 5 auxiliary)
(PAC48)

## Slide 5: Predicted Data from CLAS12 - DIS
Proton
Deuteron
W > 2; Q2 > 1
Notes: Example of statistics achievable with specified running conditions vs. proposal

## Slide 6: Example: Dd/d
Up-to-date estimate for 1st run of RGC
Inclusive and semi-inclusive data

## Slide 7: Recent theoretical predictions
Full Data set will significantly constrain valence + sea quark and gluon PDF fits, higher twist effects and sum rules
Ji, Yuan and Zhao: arXiv2009.01291 [hep-ph] 2 Sep 2020
Notes: indicate continuing high interest.

## Slide 8: TMDs: Kotzinian-Mulders Asymmetries
Worm gear TMDs are unique (no analog in GPDs)
B.Musch arXiv:0907.2381
A.V. Efremov, K. Goeke and P. Schweitzer, Czech. J. Phys. 55 (2005) A189, hep-ph/0412420.

## Slide 9: 1D SIDIS: ALL-PT and f-dependences
arXiv:1709.10054
Kinematical dependences of ALL should be properly integrated to provide input for 1D SIDIS studies
Measurements ALL-PT and f-dependence is crucial also for 1D SIDIS
π0 from EG1-DVCS
EG1b

## Slide 10
A combined analysis of DVCS observables for proton and neutron targets is necessary to perform the flavor separation of the CFFs
Proton and neutron GPDs (and CFFs) are linear combinations of quark GPDs
Im{Hn, En}
x= xB/(2-xB)
k=-t/4M2
Unpolarized beam, longitudinal target:
DsUL ~ sinfIm{F1H+x(F1+F2)(H + xB/2E) –xkF2 E+…}
~
Im{Hp, Hp}
~
Polarized beam, longitudinal target:
DsLL ~ (A+Bcosf)Re{F1H+x(F1+F2)(H + xB/2E)…}
~
Re{Hp, Hp}
~
Proton
Neutron
~
Re{Hn, En}
DVCS on proton and neutron with polarized target
DVCS allows access to 4 complex GPDs-related quantities: Compton Form Factors CFF(x,t)
CFF
CFF
GPD
GPD
GPD
GPD

## Slide 11
Projected DVCS results: target-spin asymmetry
L = 3/20∙1035cm-2s-1, Time = 50 days , Pt = 0.4
Count rates computed with nDVCS+BH
event generator
+ CLAS12 acceptance from FastMC
+ CND efficiency from GEANT4 simulation
Asymmetries computed with VGG model
• 4 bins in Q2
• 4 bins in −t
• 4 bins in xB
• 12 bins in φ
(Same as E12-11-003)
0
1
-1
First time measurement
TSA ~ 0.2
-t
0
1.2

## Slide 12
Projections for CFF flavor separation (ImH, ImE)
Fit using all the projected pDVCS asymmetries of the CLAS12 program
Fit using the projected nDVCS asymmetries of E12-06-109a and E12-11-003
s(pDVCS) ≈
10s(nDVCS)
Neutron eff = 10%
Double beam
time for proton
Quark CFFs
Nucleon CFFs

## Slide 13
Longitudinally Polarized Target for CLAS12
Slow Controls + EPICS
NMR
Pumping System
1K Refrigerator
Microwaves
5 T Solenoid (FROST)
The target is > 90% complete and successfully tested at JLab on three occasions.
Additional tests are scheduled for 2020 and 2021. Anticipate installation in Hall B in Jan. 2022.
Notes: mention MRI

## Slide 14
Longitudinally Polarized Target for CLAS12
Horizontal 1 K refrigerator: constructed and tested.
Meets or exceeds all design parameters.
  Stable & reproducible operation;
  Base temperature below 1 K;
  Cooling power of 0.6 W at 1.0 K, 1 W at 1.1 K
  Max. helium consumption < 5 liters/hr

## Slide 15
Longitudinally Polarized Target for CLAS12
Polarizations are measured using prototypes of a new NMR Q-meter developed by the JLab Target and Fast Electronics Groups
  Meets or exceeds performance of the 40-yr old Liverpool Q-meter
  Has remote-control capabilities not present on Liverpool version
  Modular for easy repair, modification, and upgrading
  R&D will continue on new version with faster, higher-resolution ADCs
  All-digital version is under design
We have dynamically polarized ⌀2 x 4 cm2 samples of 5-min. epoxy doped with TEMPO radical
(chosen for convenience) ➔ 30%-40%
Switch to butanol and NH3 for upcoming tests

## Slide 16
Longitudinally Polarized Target for CLAS12
The CLAS12 5 T solenoid will be used to polarize the target
  Field uniformity is ok for protons – should be improved to optimize the deuteron polarization
  Superconducting shim coils will be installed inside the the 1 K cryostat
  Demonstrated the efficacy of this approach
Pump Cart
(on rails)
Electronics Cart
Support & adjustment frame
(on rails)
Target insertion cart for CLAS12: ~75% complete.
  Fast, easy insertion and removal of target cryostat
  Six-axis adjustment

## Slide 17
Longitudinally Polarized Target for CLAS12
Remaining work is scheduled for completion in Sept. 2021 (“dress rehearsal” for CLAS12)
  Complete insertion cart;
  Fabricate superfluid bath: Kel-F w/ aluminum beam windows;
  Install superconducting shim coils for improved deuteron polarization;
  Upgrade bath retraction mechanism for higher reliability;
  Dynamic polarization of NH3 and ND3

## Slide 18: Proposed Run Plan
We assume RG C will be scheduled for a half year run in 2022 (e.g., Winter/Spring 2022), with 6 months (26 weeks) of data taking. That corresponds to 182 calendar days or 91 PAC days, which is just under ½ of the approved total beam time
Complete approved experiments not requiring the FT
Come back at a later time to run 94 additional PAC days with the FT for DVCS (requires optimizing the best tradeoff between raster size, luminosity, and target length)

## Slide 19: Run Conditions
> 10.5 GeV electron beam (4 days at 2.2 GeV for commissioning and calibration), beam polarization > 0.85
p and d (ammonia and deuterated ammonia) targets polarized (via DNP) along or opposite to the beam direction
Standard CLAS12 Forward Tracker including 2 (or more) sectors of LTCC and 1-2 sectors of RICH; NO FT for part 1 but for part 2
Standard CLAS12 Central Detector with all components (SVT, BMT, FMT*), CTOF, CND); no BAND
New Møller shield (detailed design exists and has been verified by extensive GEMC simulations), upgraded beam line with 2 cm diameter raster
Standard e- inclusive trigger with ”roads”; data rate and data storage similar to RG B
*) Successfully modified by Saclay and re-commissioned during RG-F.
Notes: All of these have been demonstrated or are in hand

## Slide 20: Summary
RG-C combines several highly rated experiments that will make crucial contributions to the core 12 GeV program at Jefferson Lab
Polarized target is nearing completion (tremendous investment by Lab and collaborators, including NSF MRI)
RG-C passed ERR and submitted beam time request in 2019. Hall B Task Force appointed.
Ready to begin running by the end of 2021
We request re-approval of the entire Run Group

## Slide 21: Backup Slides

## Slide 22: Full Data set will significantly constrain PDF fits, higher twist
TAC REPORT:

## Slide 23: Commissioning Plan
Part 1: Initially, at 2.2 GeV (4 days, torus at ½ current)
  Establish beam on “empty” target (standard procedure, HV off)
  Move beam with raster magnets to establish raster limits, set up raster, check out BOM, detector rates, background; establish max. beam
  run with solid 12C target
  Moller run
  run with NH3 for 2 calendar days (cross-check with EG1b)
Part 2: 10.5 GeV (3 more days)
  Repeat beam and raster set-up
  Repeat empty and 12C run
  zero field (Torus and Solenoid) run
  beam scan up to max current

## Slide 24: Extraction of Pbeam*Ptarget
One Moller polarimeter run / week (similar to RGA/B) -> Pbeam
Continuous monitoring with NMR: relative trends in Ptarget
Absolute determination of Pb*Pt: (Quasi-)elastic ep coincidences (e- in FD, p in CD)
  Highly selective – 4 constraints
  nuclear background strongly suppressed due to Fermi-Motion – see DVCS
  High rates at moderate Q2 < 4 GeV2
Expected precision
  5% statistical uncertainty on Pb*Pt for H after 2 hour run
  12% statistical uncertainty on Pb*Pt for D after 2 hour run
  Enough to cross-calibrate NMR and observe drifts over 1 shift
  Final uncertainty (3-4%) determined by systematics (< 0.5% stat.)
Ptarget from Pb*Pt and Pb from Møller polarimeter -> 5%
Notes: syst. uncertainties based on EG1dvcs.

## Slide 25: Extraction of Pbeam*Ptarget
Analysis from RGA – rates are consistent with simulation
Df < 5o
zvertex
DE < 0.5 GeV
Ebeam reconstructed from qe and qp
W

## Slide 26
A1 – PT dependence
M. Anselmino et al PRD74:074015, 2006
p+ A1 suggests broader kT distributions for f1 than for g1
The CLAS12-RGC data would allow multidimensional bining in x,Q2,z,PT
m02=0.25GeV2
mD2=0.2GeV2
H. A. & CLAS Coll., PRL.105:262002, 2010
0.4<z<0.7
B.Musch et al arXiv:1011.1213
deuteron

## Slide 27: ERR committee
Joshua Pierce (chair)
Jian-Ping Chen
Andrew Puckett
Tanja Horn
Bob Miller
Keith Welch
Michael Tiefenback
Observers: Ed Folts and Javier Gomez