## Slide 1: Streaming Readout and Data-Stream Processing With ERSAP
Environment for Real-time Streaming, Acquisition and Processing
V. Gyurjyan, D. Abbott, M. Goodrich, G. Heyes, E. Jastrzembski, D. Lawrence, B. Raydo, C. Timmer

## Slide 2
“Enable full offline analysis chains to be ported into real-time, and develop frameworks
that allow non-expert offline analysis to design and deploy physics data processing systems.”
A Roadmap for HEP Software and Computing R&D for the 2020s. HEP Software Foundation, Feb. 2018

## Slide 3: Outline
Looking forward to future experiments at the JLAB and EIC
  Reevaluate existing readout systems and their interface to the back-end
Reactive, actor-model based programming model
Results from ERSAP based pilot applications.

## Slide 4: Streaming system components: Tiered storage model
FE
Detector 1
FE
Detector 2
FE
Detector N
FE
Buffer
FE
Buffer
FE
Buffer
Aggregator
Processor
Processor
Online
Storage
Processors
Nearline
Storage
Processors
Permanent
Storage
Tier 1
Tier 2
Tier N
Final Tier
Storage capacity/ retention time >= . Processors latency
Components | Framework Support
A stream-oriented timing system | 
A standard stream data format | 
Front-end electronics that outputs time-based streams of data | 
Efficient streaming data transport | 
A stream oriented random-access data storage tier | 
A framework for data processing tasks (virtual triggers, calibration, reconstruction, monitoring, data storage, etc.) | 
A framework for data-flow orchestration and data-stream processing application design and deployment | 
Detector
DAQ
Online/nearline data processing
Processors
Offline data processing

## Slide 5: Flow-Based Programming Paradigm
Proposed in the late 60s by J. Paul Rodker Morrison
“Assembly line” data processing
Data flows through asynchronous, concurrent processors (“black box” actors)
Actors communicate via data chunks (called information packets or data-quanta)
Data-quanta are traveling across predefined connections (conveyor belts), where connections are specified externally to the processors.
Data is pushed through actors, while actors are reacting on passing data quantum.
Actors are performing independent, well-defined functions
Simple reconfigure
Fault tollerant

## Slide 6: ERSAP architecture
DPS
DPS
DPS
DPS
DPS
DPE
DPE
SM
SM
SM
Network
Data
DPE : Data Processing Environment
SM : Shared Memory
DPS : Data Processing Station
UE
UE : User Engine
Orchestrator
Source
Sync
Actor
Init(Object O)
Object process(Object O)
Event reactive actors, networked by data pipelines.
Compositional actors with conditional data routing at runtime.

## Slide 7: Data processing station: actor
User engine run-time environment.
Engine follows data-in/data-out interface.
Engine gets JSON object for run-time configuration.
Data Processing Station
Multi-threading
Configuration
Runtime Environment
Communication
User provided code
Engine
UE

## Slide 8: ERSAP 3-layer structure
FE
Actor Layer
Orchestration Layer
Registration
DPE
SC
SC
DPE
SC
SC
DPE
SC
SC
DPE
SC
SC
gateway
security
Local Registration
Local Registration
Local Registration
Local Registration
Meta-Data
Data
ZeroMQ(xMsg)
in-Memory Data-Grid
POSIX Shared Memory (FIPC)

## Slide 9: Streaming data transport (conveyer belt)
Communication
Data-Stream Pipe
Meta-description
Serialization
0MQ/POSIX_SHM/Data-Grid
Publish/Subscribe
P2P
Transient Data
Address
Topic
Envelop
Metta-Data
Version
Status
Data Location
Shared Memory address
Description
Author
Severity-ID
Sender
Sender State
Communication ID
Composition
Execution Time
Action
Control
Data Type
Data Description
Reply To
Byte Order
Data
Serialized Native
Serialized Custom

## Slide 10: EIC prototype calorimeter SRO pipeline at DESY
ROC
Calorimeter
ERSAP
F
ADC
VT
P
VXS Crate
VTP
Receiver
Format2
VTP
Frame Decoder
Beam Event
Identifier
12FADC250
Stream
(32 channels)
Zero
Suppression
4Gbyte
DDR3
Frame Builder
10Gbps Ethernet
(TCP) Stream
VXS Trigger Processor
Cosmic Event
Identifier
DC
CODA
ET
VTP payload
DL

## Slide 11: Event Identification. Fixed size sliding window technique
Beam Event
Only 1 hit/channel
Cut on min number of hits
Central channel energy deposition > than any other
Cosmic Event
Hits in only 3 modules on the path of muons
Sliding window – 32ns
Sliding step – 1ns
Stream of 65.5us VTP frames
Sliding pointers
Find min/max time of hits within the frame

## Slide 12: Adaptive Window Streaming Event Time-Based Clustering Algorithm
Adaptive window
Stream of events
WL Edge
Moves if te –ts > Th
Adaptive window edge movement direction
WR Edge
Moves to get Nh events
Initialize Window W for each t > 0
Do
W←W ∪ {xt} // Move WR = 1
Until elements = Nh
If ( te – ts ) <= Th ) {
Identified a cluster;
Move WL = WR // drop all elements
} else {
While ( te –ts > Th ) {
Move WL = 1 // drop one element
}

## Slide 13
Time[ns]
fADC Channel
Time distribution of hits
32nsec

## Slide 15
Charge cut effect
2GeV, TET=50
DESY_stream_134.evt.0
Total frames – 1861687
Empty frames – 1807602
Total identified (soft trigger) – 18774
97% empty frames
34.71% identified as beam events
No energy/charge cut in the soft trigger
2GeV, TET=50
DESY_stream_134.evt.0
Total frames – 1861687
Empty frames – 1807602
Total identified (soft trigger) – 11487
97% empty frames
21.24% identified as beam events

## Slide 16
fADC threshold effects (2GeV)
Chart: Number of identified beam events
| 10 | 20 | 30 | 40 | 50
Trigger | 20415 | 20742 | 20081 | 23026 | 20516
Stream | 24965 | 25275 | 23318 | 25686 | 22032
Chart: SRO event identification efficiency % of events identified more by the software trigger
| 10 | 20 | 30 | 40 | 50
 | 18.2 | 18 | 13.9 | 10.4 | 6.8
Chart: Empty frames
| 10 | 20 | 30 | 40 | 50
 | 68.9 | 90.3 | 95.1 | 96.5 | 96.5

## Slide 17
Chart: Energy Deposition
| 2 | 3 | 4 | 5
 | 5673.2 | 6971 | 7990 | 8901.6
Calorimeter response linearity

## Slide 18: Summary
ERSAP is a software LEGO system
  Encourages application design based on software artifacts (LEGO bricks)
    Easier to understand and develop
    Reduced develop-deploy-debug cycle
    Easy to migrate to data
    Scales independently
    Independent optimizations
Improves fault isolation
Easy to embrace hardware as well as software heterogeneity.
Eliminates long term commitment to a single technology stack.
Agile framework that makes easy software evolution over time!

## Slide 19
Thank You

## Slide 20: EIC prototype calorimeter SRO application design and configuration
--- io-services: reader: class: org.jlab.ersap.coda.engines.AggFileReaderEngine name: Source writer: class: org.jlab.ersap.coda.engines.AggStoreHistogramEngine name: Sync services: - class: org.jlab.ersap.coda.engines.FAdcIdEngine name: Beam - class: org.jlab.ersap.coda.engines.FAdcCosmicIdEngine name: Cosmic
# -class: KMeanEvtdentifier
# name: cppBeam
# lang: cpp
configuration: io-services: writer: frame_title: "ERSAP" frame_width: 1400 frame_height: 1200 #> hist_titles is a string containing the list of crate-slot-channel separated by , hist_titles: "1-17-0, 1-17-1, 1-17-2, 1-17-3, 1-17-4, 1-17-5, 1-17-6, 1-17-7, 1-17-8, 1-17-9, 1-17-10,
hist_bins: 100 hist_min: 0 hist_max: 8000 scatter_reset: true #> grid_size defines a layout for histogram visualization #> (e.g. 5 will plot 25 histograms in 5x5 matrix) grid_size: 5 services: Beam: s_window: 32 s_step: 1 s_hits: 5 # t_slot: 17 # t_channel: 14 b_thr: 20 bc_slot: 17 bc_channel: 12 bc_qmin: 0 bc_qmax: 8000 Cosmic: s_window: 32 s_step: 1 s_hits: 5 mime-types: - binary/data-evio - binary/data-jobj