## Slide 1: Calorimeter trigger status update
Alexandre Camsonne
Hall A DVCS collaboration
December 19th 2013

## Slide 2: Outline
Calorimeter trigger
Installation
Status
Current issues
Plan

## Slide 3: Calorimeter trigger
Receives all 208 signals from the PbF2 calorimeter
Triggered by the Left HRS trigger
Digitized all signal and computes all sums of 4 adjacent blocks
If sum is above threshold generates trigger

## Slide 4: Logic module
DVCS electron trigger
S2m + Cerenkov
Coincidence in FPGA logic module
Generates ARS stop
Takes TS signal
Generates coincidence trigger

## Slide 5: Current status
Trigger installed in HRS
Logic module on separate FPGA working
Readout in standard VME
Block Transfer implemented but needs to be tested

## Slide 6: Current issues
FPGA firmware loading fails
Block transfer mode has additionnal words
Block transfer hangs at high rate

## Slide 7: Plan
Cable trigger
Test BLT
Readout trigger and ARS
Test onboard scaler
Deadtime measuremements

## Slide 8: Readiness review
March 2013
Ben Raydo, Chris Cuevas
Mostly focus on trigger

## Slide 9: Conclusion
Trigger installed
Logic FPGA implemented need to be tested
BUT implemented but need to be checked
Issue at high rate
Need to have trigger ready by March for review