## Slide 1: Use of the HIFROST Dilution Refrigerator for the T20 Experiment
Matthew Roberts

## Slide 2: Outline
Theory
Experiment
Our Dilution Refrigerator
The Problem
Conclusions and Next Steps

## Slide 3: Theory
Deuteron
Tensor Analyzing Powers
Low Energy Region

## Slide 4: Theory
Discrepancy
Source: Nath et al.

## Slide 5: Theory
Discrepancy
pd→ppX
Source: Fil’kov et al. (Top)
S. Hoblit et al.
(middle and bottom)

## Slide 6: Theory
GDH
T20
Source: Schmitt and Arenhovel

## Slide 7: Outline
Theory
Experiment
Our Dilution Refrigerator
The Problem
Conclusions and Next Steps

## Slide 8: Experiment
Deuteron
Source: tunl.duke.edu

## Slide 9: Experiment
Deuteron
Polarization

## Slide 10: Outline
Theory
Experiment
Our Dilution Refrigerator
The Problem
Conclusions and Next Steps

## Slide 11: Our Dilution Refrigerator
HIFROST
By Adwaele - Created by Slidewrite, CC BY-SA 3.0, https://en.wikipedia.org/w/index.php?curid=35410063

## Slide 12: Our Dilution Refrigerator
Cooldowns

## Slide 13: Our Dilution Refrigerator
Leaking still

## Slide 14: Our Dilution Refrigerator

## Slide 15: Our Dilution Refrigerator

## Slide 16: Our Dilution Refrigerator
Original
New

## Slide 17: Our Dilution Refrigerator
Reduce pumpout OD

## Slide 18: Our Dilution Refrigerator
Reduce pumpout OD
Add a bevelled inlet for He-3 line

## Slide 19: Our dilution refrigerator
Reduce pumpout OD
Add a bevelled inlet for He-3 line
Still access
Still Sensors

## Slide 20: Our dilution refrigerator

## Slide 21: Outline
Theory
Experiment
Our Dilution Refrigerator
The Problem
Conclusions and Next Steps

## Slide 22: The problem
Leaks

## Slide 23: The Problem
Leaks

## Slide 24: The Problem
Leaks

## Slide 25: The Problem

## Slide 26: Outline
Theory
Experiment
Our Dilution Refrigerator
The Problem
Conclusions and Next Steps

## Slide 27: Conclusions and Next Steps
Work with Meyer to redesign the unit
Retest the 3He line and electronics
Testing NMR and microwave lines
Run a successful cooldown
Prepare for the GDH experiment
Prepare for the T20 experiment

## Slide 28: Acknowledgements
Don Crabb, Dustin Keller, Blaine Norum, and Donal Day for their knowledge and advice
Mark Hoegerl, Will Fariss, and Josh Ocheltree for their time and their patience
Chris Keith for his input
TUNL for their support and contributions

## Slide 29: Sources
Keller, D., Norum, B., & Seo, P. (2016, February 16). Measurement of the Tensor Analyzing Power in Deuteron Photo-disintegration between Eγ = 4 MeV and 20 MeV.
T.O.Niinikoski,F.Udo,Nucl.Instr.andMeth.134(1976)219.
S. Hoblit, et al., LEGS-Spin Collaboration, Phys. Rev. Lett. 102 (2009)
https://en.wikipedia.org/wiki/Dilution_refrigerator
tunl.duke.edu
K.-M. Schmitt and H. Arenhovel, Few-Body Syst. 7, 95 (1989).
H. Arenhovel, W. Leidemann, and E. Tomusiak, Few-Body Syst. 28 (2000) 147.
“Search for supernarrow dibaryons in pd interactions,” L.V. Fil'kov et al., Phys. Rev. C61, 044004 (2000).
“Differential polarization of photoneutrons from deuterium,” R. Nath, F.W.K. Firk, and H.L. Schultz, Nucl. Phys. A194, 49 (1972).