## Slide 1: Elastic & Quasi-Elastic Tensor Asymmetry and
Elena Long
SPIN
Durham, NC
Sept. 27th, 2023

## Slide 2: Tensor Polarization Basics
m = -1
m = +1
m = 0
Spin-1
System
Tensor
( + )-2
A high-luminosity tensor-polarized target has promise as a novel probe of nuclear physics
J Forest, et al, PRC 54 646 (1996)

## Slide 3: Deuteron
Simplest composite nuclear system
However, understanding of deuteron at short distances remains unsatisfying
  A well-constrained theoretical model is necessary for understanding tensor interactions underlying short-range correlations and pn-dominance
Short-range deuteron structure can be probed using choice in kinematics () and by enhancing the D-state through tensor polarization
  The upcoming JLab experiment uses a combination of both techniques
J Forest, et al, PRC 54 646 (1996)
“There is a strong need for models of the deuteron wave function that are both realistic and relativistic.”
- J. Terry, G. Miller, arXiv:1603.07032 (2016)

## Slide 4: Deuteron Wavefunction
Is the deuteron wavefunction hard or soft?
  AV18 is an example of a moderate-hard WF
  CDBonn is an example of a soft WF
Unpolarized deuterons need to be probed at to distinguish between hard and soft WFs
  Not practical
Currently no unambiguous experimental evidence for which is more valid
Tensor polarization enhances the D-state, allowing hard and soft WFs to be distinguished at lower momenta
O. Hen, et al., Phys. Rev. C 92, 045205 (2015)

## Slide 5: Deuteron Wavefunction
M Sargsian
~60%
Projected
AV18
CDBonn
LL Frankfurt, MI Strikman, Phys. Rept. 76 215 (1981)
First calculated in the ‘70s, can be used in to discriminate between hard and soft wave functions
In the impulse approximation, is directly related to the S- and D-states
Modern calculations indicate a large separation of hard and soft WFs begins just above the quasi-elastic peak at
“There is a strong need for models of the deuteron wave function that are both realistic and relativistic.”
- J. Terry, G. Miller, arXiv:1603.07032 (2016)

## Slide 6: Relativistic NN Bound System
Understanding SRCs requires relativistic calculations at high p
Currently two methods:
  Light Cone (LC)
  Virtual Nucleon (VN)
Large needed to discriminate with unpolarized deuterons
With tensor , significant difference at much lower and
M Sargsian, Tensor Spin Observables Workshop (2014)
Projected
Light Cone
Virtual Nucleon
“There is a strong need for models of the deuteron wave function that are both realistic and relativistic.”
- J. Terry, G. Miller, arXiv:1603.07032 (2016)

## Slide 7: & SRCs
“There is a strong need for models of the deuteron wave function that are both realistic and relativistic.”
- J. Terry, G. Miller, arXiv:1603.07032 (2016)
N Foman, et al, PRL 108 092502 (2012)
J Arrington, et al, Ann. Rev. Nucl. Part. Phys. 72, 307 (2022)
S Li, et al, Nature 609, 41 (2022)
AV18
CDBonn
Bonn r-Space

## Slide 8: & SRCs
“There is a strong need for models of the deuteron wave function that are both realistic and relativistic.”
- J. Terry, G. Miller, arXiv:1603.07032 (2016)
J Arrington, et al, Ann. Rev. Nucl. Part. Phys. 72, 307 (2022)
AV18
CDBonn
Bonn r-Space

## Slide 9: Tensor Observables
In the polarized deuteron cross section, there are four asymmetry terms
  Vector polarization
  Tensor polarization
  Integrating electron helicity suppresses and
  Switching between positive and negative vector polarizations and integrating suppresses
W. Leidemann, E.L. Tomusiak, H. Arenhovel, Phys. Rev. C 43, 1022 (1991)

## Slide 10: Playing with Helicity States
For unpolarized beam
2 Helicity States – Has diluting asymmetry
4 Helicity States – Suppresses diluting asymmetry, giving cleaner measurement
    improved by

## Slide 11: Playing with Helicity States
But JLab’s beam is polarized, leading to 8 helicity states
  Combining these in various ways can give us 4 unique asymmetries
  4 measurements & 4 unknowns
    Simultaneously measure all pol. deuteron asymmetries from the upcoming tensor experiments
Beam Asym w/ Tensor Target:
Beam/Target Vector Asym:
Target Vector Asym:

## Slide 12: Kinematics
  JLab Hall C with HMS & SHMS
  Unpolarized beam, tensor polarized target (longitudinal alignment)
SHMS
Longitudinally
Polarized
Target
HMS
Slow
Raster
Fast
Raster
Lumi
Faraday Cup
Unpolarized
Beam
SHMS

## Slide 15: Elastic
, along with unpol. & form factors, gave rise to current deuteron understanding
on elastic peak
J Forest, et al, PRC 54 646 (1996)
Proposed from E Long, et al, JLab C12-15-005
World Data from R Holt, R Gilman, Rept.Prog.Phys. 75 086301 (2012)
  We get for free!
At low ,
  well known
  can be extracted from
  Completely independent measurement from NMR line-shape
in the largest and highest range ever done in a single experiment
  Important cross-check of Hall C high data

## Slide 16: and from Scattering
The elastic cross-section can be used to extract the tensor polarization independently from NMR extraction
Dilution factor
Previously measured observables
(Well-known at low )
# Events w/
# Events w/
At
Polarization oriented
along beamline

## Slide 17: from Scattering
At ,
  (7.7%)
    Can shrink to ~5% w/ parameterization as in Zhang, et al.
C Zhang, et al, PRL 107 252501 (2011)
(fm)
0.193
0.225

## Slide 18: from Scattering
At ,
  (20%)
    Can shrink to ~5% w/ parameterization as in Zhang, et al.
C Zhang, et al, PRL 107 252501 (2011)
(fm)
0.193
0.225

## Slide 19: from Scattering
strongly dependent on , which is more cleanly extracted from form factor
At ,
  (10%)
    Can shrink to ~5% w/ parameterization as in Zhang, et al.
D Abbot, et al, Eur. Phys. J. A 7 421 (2000)

## Slide 20: and from Scattering
2.5%
6.59% 1.34% 0.25%
3.73% 2.82% 0.04%
1.05% 8.57% = 8.63%

## Slide 21: Measuring Polarization
For vector polarization,
For tensor polarization,
Reducing
Increases +
Line shape fits used to extract and area difference
D. Keller, et al., NIM A 981, 164504 (2020)
D. Keller, Eur. Phys. J. A 53, 155 (2017)

## Slide 22: Semi-Selective RF Saturation (ssRF)
[1] D. Keller, et al., NIM A 981, 164504 (2020)
[2] D. Keller, Eur. Phys. J. A 53, 155 (2017)
[3] A. Abragam, Principles of Nuclear Magnetism (1961)
[4] J. Clement, D. Keller, NIM A 1050, 168177 (2023)
  Technique developed by D. Keller & UVA Polarized Target Lab[1,2]
  Additional RF coils drive spin-flips within NMR frequencies to minimize while having a minimal or enlargement factor on
    Frequencies are ‘mirrored’, but quadrupole angle is not, so spin manipulation at one shows up at two frequencies
    Area reduction of causes a ½ area increase of
    To measure , a line shape derived from Abragam was used that allows for manipulated spin states with different polarizations at different frequencies (and thus different values of ) [2,3]
  UVA achieved using ssRF[1] on peak and shoulder of
  UVA measurement agrees with independent UNH extraction within experimental uncertainty

## Slide 23: First High Measurement of Quasi-Elastic
No current quasi-elastic tensor measurements
Sensitive to effects that are very difficult or impossible to measure with unpolarized or vector polarized deuterons
Large 10-100% asymmetry
Decades of theoretical interest that we can only now probe with a high-luminosity tensor-polarized target (same as b1 experiment)
  Better understanding of s/d, SRCs & pn dominance, differential light cone & virtual nucleon models
Importance ranges from understanding short-range correlations to the equations of state of neutron stars
Also: T20 over widest Q2 range
  Important cross-check of Hall C high Q2 data

## Slide 24
K. McGuire UG (prev)
D. Ruth Post Doc
M. McClellan PhD Student
J. Yost UG (prev)
L. Kurbany
PhD Student (prev)
A. Gudinas UG (prev)
R. Williams UG (prev)
Z. Wolters PhD Student
E. Long
PI
M. McClellan PhD Student
D. Ruth Post Doc
A. Zec
Post Doc
N. Santiesteban PI
K. Slifer PI
Thank you!
& collaborators at

## Slide 26: Backup Slides

## Slide 27: Kinematics & Overhead

## Slide 28: Overhead Assumptions (Real Time)
Beam Assumptions: Beam Current: 85 nA Beam Efficiency: 0.5 (Scaled to 1)
Target Configuration Assumptions: Target Cup Radius: 1.5 cm Target Cup Configuration: 2 cups | || |/ \ Microwaves |ND3 Prod. Mat. |ND3 Prod. Mat. |C Optics |EMP Empty Cell |___
Target Annealing/Material Assumptions: Dose between anneals: 5.25e+15 e/cm^2 Time Between Anneals for 2 Cups: 3 days, 5:42:46 Time required for Anneal: 1:00:00 Time required for Cup Change: 0:10:00 Time Between Cup Changes: 1 day, 14:51:23 Time required for target material change: 4:00:00 Dose between target material changes: 5.00e+16 e/cm^2 Time between target material changes for 2 Cups: 30 days, 20:07:20
Target Polarization, TE, & PF/Dilution Run Assumptions: Time constant for vector pol. spin-up: 0:50:00 # of vector pol. time constants before beam: 3.91 Time required for vector pol. spin-ups: 3:15:30 Time between each vector pol. spin-up: 2 days, 0:00:00 Time required for target TE measurements for all 2 cups: 3:00:00 Time between TEs: 15 days, 10:03:40 (2 b/w Each Material Change) Time required for packing fraction/dilution runs: 3:00:00 # of packing fraction/dilution runs per kinematic setting: 5 Time to Tensor Enhance: 0:00:30 Time to Tensor Unpol: 0:00:10 Time Between Tensor Pol/Unpol Cycles: 0:30:00
Beamline & Hall Configuration Assumptions: Time required for BCM calibration: 2:00:00 Beam time between BCM calibrations: 7 days, 12:00:00 Time required for each Optics run: 4:00:00 Beam time between Optics runs: 20 days, 0:00:00 Time required for each Linac change: 8:00:00 Time required for each Spectrometer Momentum/angle change: 2:00:00

## Slide 29
Run Plan

## Slide 30: UNH NMR Simulation
  UNH simulation based on modified Cohen & Reif
  Calculates transition frequencies from energy levels
      and
  Assumes random powder pattern for & counts spin flips across NMR frequency bins
    Calculates ~125,000 spin flips into ~300 NMR bins
    Spin flips determined by and , which can be independent in bins to account for simple RF manipulation
    Broadens each frequency bin into all others via real & imaginary Lorentzian
      Allows phase angle extraction
  Higher order spin diffusion not yet fully implemented
    Simulation already agrees with UVA direct measurement within experimental uncertainties, and we expect this agreement to further improve once spin diffusion is fully implemented
M.H. Cohen, F. Reif, Solid State Phys. 5, 321 (1957)
Preliminary
Courtesy M. McClellan
Preliminary

## Slide 31: Real & Imaginary NMR Signals
Allows us to “offline retune” any off-tune NMR signals
Mistuned “Ugly Duckling”
1st UNH enhanced
deuteron signal now
understood

## Slide 32: Real & Imaginary NMR Signals
  Recently took first data swapping between real and imaginary NMR signals
    Imaginary NMR was not ideally tuned, with an off-tuned phase angle of approximately
  Preliminary polarization extraction with both signal types is encouraging
    Used Dulya fits for real & modified Dulya fits for imaginary
  Much optimizing to be done!
Courtesy M. McClellan & E. Mustafa
C. Dulya, NIM A 398, 109 (1997)
Preliminary
Vector Pol.
Tensor Pol.
Extracted from Imaginary NMR
Extracted from Real NMR
See M. McClellan’s talk

## Slide 33
Recent Hall B Vector Polarization Spin-Up

## Slide 34: and from Scattering
Assuming

## Slide 35: from Scattering – Parameterized
Using values mentioned & , the relative uncertainty from elastic scattering is 8.63%
  Similar rel. uncertainty in range
2.5%
6.59% 1.34% 0.25%
3.73% 2.82% 0.04%
(Using for easier notation)
1.05% 8.57%

## Slide 36: from Scattering – Previous Data Only
Using values mentioned & , the relative uncertainty from elastic scattering is 12.68%
  Similar rel. uncertainty in range
1.05% 12.64%
2.5%
10.13% 5.36% 0.45%
3.73% 2.82% 0.04%
(Using for easier notation)

## Slide 37: Tensor Asymmetry
  Observables most simply accessible using tensor enhanced & unpolarized measurements
  Tensor polarized:
  Unpolarized:
Quasi-Elastic/SRC
Elastic
DIS

## Slide 38: Deuteron Wavefunction
N Fomin, et al, PRL 108 092502 (2012)
“There is a strong need for models of the deuteron wave function that are both realistic ”
- J. Terry, G. Miller, arXiv:1603.07032 (2016)
Is the deuteron wavefunction hard or soft?
  AV18 is an example of a moderate-hard WF
  CDBonn is an example of a soft WF
Unpolarized deuterons need to be probed at to distinguish between hard & soft WFs
  Not practical
  Currently no unambiguous experimental evidence for which is more valid (~<1σ)
Tensor polarization enhances S/D sensitivity, allowing hard and soft WFs to be distinguished at lower momenta

## Slide 39: The Future of Tensor Polarization
Physics accessible with a tensor polarized target:
    Orbital Angular Momentum & Spin Crisis
    Gravitomagnetic Form Factors
    Pionic Effects
    Polarized Sea Quarks
    Tensor polarized antiquarks
    Linking traditional nuclear physics and quark-gluon picture
    Final State Interactions
    Gluonic Effects
    Tensor structure functions  ,
    Tensor DVCS  Test sum rules, new helicity term
    Tensor Drell-Yan  60 new structure functions
    Tensor TMD  Directly measure a T-odd function[1]
    Tensor EIC  Many calculations simplified
    …and more!
Tensor program:
  DIS : Approved (C12-13-011)
  QE and Elastic : Approved (C12-15-005)
  Exotic gluon states through (LOI12-16-006)
[1] A. Bacchetta, Ph.D. Thesis (2002) arXiv:0212025
J. Phys.: Conf. Ser. 543 011001-012015 (2014)
http://iopscience.iop.org/1742-6596/543/1
How can tensor polarization help to provide insight on your theoretical work?

## Slide 40: SDR-based VNA NMR
SDR = Software Defined Radio
Simultaneous measurement of all parts (Real & Imaginary) of NMR signal
~$450
Using Eq (1), Eq (3), & Table I from Yu.F. Kisselev et al., NIM A 354, 249 (1995)
DNP-Enhanced Proton Signal

## Slide 41: VNA NMR – Multiple Signals @ Same Time
Does not require soldering new tank circuits to use with different nuclei (ie, 5T proton @ 213 MHz and 5T deuteron @ 32 MHz)
Can measure multiple nuclei simultaneously
Proton
19F
(from Kel-F Cup)
~$4k

## Slide 42: VNA NMR – Q-curve BG Studies
Can measure extremely wide frequency ranges (~up to 50 MHz span w/ NMR signal, 0.001-6 GHz span for Q-curve background studies)
  Normally only +/- 400kHz measured
Combining Real & Imaginary information over a large frequency range may remove need for a baseline!
4T Proton
100 MHz to 215 MHz

## Slide 43: VNA NMR – Re & Im + Q-curve BG Studies
Absorption (Real) vs. Dispersion (Imaginary) creates circles for Lorentzian signals
D.C. Roe, A.G. Marshall, Analytical Chemistry, 50, 756 (1978)
D.C. Roe, A.G. Marshall, Analytical Chemistry, 50, 764 (1978)
Tuned NMR cables are Lorentzian with NMR signals on top
Enhanced proton signal on VNA

## Slide 44: New BG Subtraction Method
Proton Signal
‘Q-Curve’ Background
Re(Z) vs. Im(Z) creates easy-to-fit circles!
Signal on Top = Good Tune
Signal on Left/Right = Re(Z) signal hidden
(Looks like Im(Z) when near sides, goes away when equal to sides) Signal on Bottom ½ = ‘Flipped’ Proton Signal

## Slide 45: New BG Subtraction Method
Fit BG circle w/ radius & center offset
Subtract out BG circle
Plot remaining Re(Z) vs. Frequency

## Slide 46: New BG Subtraction Method
Remaining background is extremely flat
Works from TE through enhanced

## Slide 47: Final State Interactions
[2] S Jeschonnek, JW Van Orden, arXiv:1606.04072 (2016)
“There is a strong need for models of the deuteron wave function that are both realistic and relativistic.”
- J. Terry, G. Miller, arXiv:1603.07032 (2016)
AV18
CDBonn
PW
PW+FSI On-Shell
PW+FSI On- & Off-Shell
[1] W Cosyn
FSI must be understood & minimized to get NN potential information
Minimum/maximum FSI on calculated by W. Cosyn[1]
FSIs minimized in kinematic choice (large and medium pm)
  Best suited for attempting to extract information on D-wave content[2]

## Slide 48: Tensor Research Program (So far…)
1.2 1.3 1.4 1.5 1.6 1.7 1.8 1.9 2.0 2.1

## Slide 49: LOI12-16-006: Search for Exotic Gluonic States in the Nucleus
Authors:
J. Maxwell*, W. Detmold, R. Jaffe, R. Milner, D. Crabb, D. Day, D. Keller, O.A. Rondon, M. Jones, C. Keith, J. Pierce

## Slide 50: Tensor Structure Function, (or )
R Jaffe, A Manohar, Phys. Lett. B 223,218 (1989)
J. Maxwell, et al, JLab LOI-14-001
Hadronic double helicity flip structure function,
Unpolarized beam on transversely-aligned target
Insensitive to bound nucleons or pions
Any non-zero value indicates exotic gluonic components
New lattice QCD result for first moment of ∆(x, Q2) in a φ meson is preliminary, but very promising (arXiv:1606.04505)
Encouraged for full proposal submission, updated LOI submitted

## Slide 51: Systematics
More than 10x less sensitive to systematics than

## Slide 52: Overhead

## Slide 53: Challenges and Opportunities
  Tensor polarized target in development with dedication from multiple labs
  Stray SHMS fields will have negligible effect on target
  Data recoverable in rare event of target material shifting
  Very large asymmetry (10-120%)
  Identical equipment and technique as
  More than an order of magnitude less dependent on systematics than
    Perfect testing ground for fully understanding and controlling systematics

## Slide 54: Connection to Short Range Correlations
Short range correlations caused by tensor force – why not probe it through tensor polarization?
N. Fomin et al., Phys. Rev. Lett. 108 (2012) 092505
L.L. Frankfurt et al., Int. J. Mod. Phys. A23 (2008) 2991-3055

## Slide 55: Connection to Short Range Correlations
Short range correlations caused by tensor force – why not probe it through tensor polarization?
L.L. Frankfurt et al., Int. J. Mod. Phys. A23 (2008) 2991-3055

## Slide 56: Tensor Polarization Measurement
Vector optimize with microwaves
Fit peaks with convolution
Tensor optimize with RF
Measure change in peaks using Riemann Sum segments
Ratio of instantaneous to initial NMR signal area
Percentage of initial peak shifted any time (from reduced side)
Available tensor enhancement

## Slide 57: Elastic Tensor Observables
R Gilman, F Gross, J. Phys. G 28 R37 (2002)
VEPP-3 Internal gas 1.65-4.26 6 2003
Bates Internal gas 0.42-0.89 9 2011

## Slide 58: Elastic Tensor Observables
RJ Holt, R Gilman, Rep. Prog. Phys. 75 086301 (2012)

## Slide 59: Elastic Tensor Observables
RJ Holt, R Gilman, Rep. Prog. Phys. 75 086301 (2012)
0.20
0.39
0.59
0.79
0.99
1.18
Q (GeV)
C Zhang, et al, PRL 107 252501 (2011)

## Slide 60: Target Magnet and Horizontal Bender
  TOSCA results[1] indicate <5 G on target material from HB
  ~0.2 G/cm gradient on target
  Maximum 12ppm effect on target material
    Well within required 100ppm target field stability
1.75m from center
of target to
3T HB
[1] MH Moore, et al, arXiv:1406.7856

## Slide 61: Target Magnet and Horizontal Bender
  TOSCA results[1] indicate <5 G on target material from HB
  ~0.2 G/cm gradient on target
  Maximum 12ppm effect on target material
    Well within required 100ppm target field uniformity
1.75m from center
of target to
3T HB
[1] MH Moore, et al, arXiv:1406.7856
Typical Strength
of Refrigerator Magnet

## Slide 62: Target Magnet and Horizontal Bender
Hall A g2p had similar configuration
  1.5T septa placed 1.58m from center of solid NH3 target
TOSCA study agreed very well with field mapping
  Septa was shown to have negligible coupling on the target magnet
Even during a catastrophic failure of the septa, the target field maintained a <100ppm stability
1.75m from center
of target to
3T HB

## Slide 63: Diluting Asymmetries
With an unpolarized beam and a longitudinally polarized target,
0
0
0
0
0
0
0
W Leidemann, et al, PRC 43, 1022 (1991)

## Slide 64: Polarization Cycle
Each polarization cycle is an independent measurement of
  Annealing and target motion only at the start of a new cycle
  Any issues from annealing or material shifts will be isolated to a single cycle
    Dilution/packing fraction runs at the beginning and end of each cycle can recover data surrounding a material shift event
  Doubled the number of cycles for the lowest measurement

## Slide 65: Possible New Target Configuration – Extended or Multiple Cells
b1 PAC condition with and ,
  )
With and ,
  )
With and ,
  )
Preliminary Study in O.A. Rondon, J.Phys.Conf.Ser. 543 (2014) 1, 012013

## Slide 66: & SRCs
“There is a strong need for models of the deuteron wave function that are both realistic and relativistic.”
- J. Terry, G. Miller, arXiv:1603.07032 (2016)
J Arrington, et al, Ann. Rev. Nucl. Part. Phys. 72, 307 (2022)
AV18
CDBonn
Bonn r-Space

## Slide 67: Negative with ssRF?
ssRF used for both &
 Can we also use it for negative ?
D. Keller
Caveat: This is an extremely preliminary look & estimate

## Slide 68: Negative with ssRF?
If so, we could further lower initial vector requirement
Caveat: This is an extremely preliminary look & estimate
If

## Slide 69: Rates for D(e,e’)X
  Used combination of P. Bosted and M. Sargsian code to calculate unpolarized cross sections
E. Long, Technical Note, JLAB-TN-13-029
P.E. Bosted, V. Mamyan, arXiv:1203.2262
M. Sargsian, Private Communication
N. Fomin, et al., Phys. Rev. Lett. 108 (2012) 092502
N. Fomin, et al., Phys. Rev. Lett. 105 (2010) 212502
              Compared with data similar to Azz range

## Slide 70: Dilution Factor
“…the background from interaction with nuclei increases as increases. For example, for a D12C target the ratio of the cross sections for A=12C and A=D is of the order of 40 for and increases with .” - L.L. Frankfurt, M.I. Strikman, Phys. Rept. 160 (1988) 235

## Slide 71: Deuteron Wavefunction
M Sargsian
~60%
Projected
AV18
CDBonn
H Arenhovel
~1%
-100%
  Vector Polarized
H Zhu, Ph. D Thesis. (2000)
~1%
“There is a strong need for models of the deuteron wave function that are both realistic and relativistic.”
- J. Terry, G. Miller, arXiv:1603.07032 (2016)