## Slide 1: Deep Learning for Data Corrections in PET and SPECT
Chi Liu, PhD
Associate Professor
Radiology and Biomedical Engineering
Yale University

## Slide 2: Outline
Attenuation correction
Scatter Correction
Motion correction
Partial volume correction
Impact of noise reduction on data correction
  PET motion correction
  Positron range correction for Rb-82 cardiac PET

## Slide 3: Using GAN for SPECT Attenuation Map Generation
L. Shi, et al. EJNMMI, Vol. 47 Issue 10, p2383-2395, 2020

## Slide 4: CT-less SPECT Attenuation Map Generation
L. Shi, et al. EJNMMI, Vol. 47 Issue 10, p2383-2395, 2020

## Slide 5
Improvement of Diagnostic Accuracy using Direct DL-AC
Shanbhag A, et al. Journal of Nuclear Medicine, 2022

## Slide 6
“Physics-Informed” Attenuation map generation from MLAA PET using Deep Learning
Luyao Shi, et al. A Novel Loss Function Incorporating Imaging Acquisition Physics for PET Attenuation Map Generation Using Deep Learning. MICCAI 2019

## Slide 7
From whole-body 18F-FDG PETNAC to PETCT-ASC (joint attenuation and scatter correction) using ResNet
Shiri, Isaac, et al. "Deep-JASC: joint attenuation and scatter correction in whole-body 18F-FDG PET using a deep residual network." European journal of nuclear medicine and molecular imaging 47.11 (2020): 2533-2548.
(A) Architecture of the deep residual network (Deep-JASC). (B) The training of the network was repeated three times. 2D successive slices (DL-2DS), 3D slices (DL-3DS) and 3D patches (DL-3DP).
Direct Prediction of Attenuation&Scatter-Corrected PET from Uncorrected PET
CT
CTAC
NAC
Deep Learning

## Slide 8
Xiang H, et al. EJNMMI2020; 47(13):2956–67.
~40 s
~40 min
Deep Learning Scatter Estimation for Y-90 SPECT

## Slide 9: Problem: Body motion in dynamic PET hinders accurate parametric image estimation

## Slide 10: “Biology-Informed” Network: Jointly optimize kinetic parameter estimation and motion estimation
Loss function
Xueqi Guo, et al.
MICCAI 2022

## Slide 11: Results showed improved frame alignment and further decrease in parametric model fitting error
Voxel-wise error map
Overlaid Ki/Vb
Voxel-wise error map
Overlaid Ki/Vb
Xueqi Guo, et al.
MICCAI 2022

## Slide 12: Partial Volume Effect of 99mTc-RBC
Microvasculature – Intramyocardial blood volume
  Microcirculation damage precedes contraction/deformation change (EF drop)
  Anti-angiogenesis drugs result in microvascular injury
  Increasing anti-angiogenesis drugs
The fraction of myocardium volume that is occupied by blood
SPECT imaging of 99mTc-labeled red blood cell (RBC)
  IMBV = CMyocardium/CBlood Pool
Challenges: High blood pool activity
  Motion
  Partial Volume Effect

## Slide 13
H. Xie et al., “Segmentation-free PVC for Cardiac SPECT using a Densely-connected Multi-dimensional Dynamic Network,” IEEE Trans Med Imaging., 2022.
Registration &
Segmentation
…
Contrast CT
SPECT
segmented templates
Multiply means in each organ
SPECT template
Forward project and recon
Recon template
Correction factor
Apply to SPECT & Iterate
Iterative-Yang’s (iY) Method
99mTc-labeled red blood cell

## Slide 14
Direct PVC using dynamic convolutional network
Xie H, et al. IEEE Tran Med Imaging, 2022
w/o CTA
w/ CTA
Ground truth

## Slide 15
Motion Estimation from Low-Count PET
Zhou B, et al. MICCAI 2020, IEEE TMI 2021
Notes: Change arrow color

## Slide 16
Positron Range
Rb-82 (~2.6 mm)
F-18 (~0.7 mm)

## Slide 17
Network for Positron Range Correction
2-min static frame
20-s dynamic frame
Network for Positron Range Correction
Network combining Positron Range Correction and denoising
Rb-82 Cardiac PET
Xie H. et al. SNMMI 2023
Richardson-lucy
Richardson-lucy

## Slide 18: Summary
Attenuation correction
  Examples in cardiac SPECT – address the needs of SPECT-only scanners without CT
  Examples in PET: CT-less correction for dose reduction
Scatter correction
  Speed up
Motion correction
  Example of biology-informed AI models taking tracer kinetics into account for wholebody dynamic PET
Partial volume correction
  Example of cardiac SPECT/CT: using AI to address the unavailability of CT and contrast-CT angiography
Impact of noise reduction on data correction
  Example of noise reduction to facilitate motion vector estimation for PET motion correction
  Example of noise reduction to facilitate positron range correction for Rb-82 cardiac PET

## Slide 19: Acknowledgement
R01EB025468 R01CA224140
R01HL154345 R01HL123949
Thank You!