## Slide 1: LD2309 – FY23: µRWELL-PICOSEC - Development of Fast Timing Detector based on Resistive Micro Well Detector Kondo Gnanvo1 (PI), Klaus Dehmelt1,2, Jack McKisson1, Brian Kross1, Drew Weisenberger1, Wenze Xi1 (Co-PI)
MM-PICOSEC Coll. Test beam setup @ CERN (July 2023)
Background & Rationale:
Develop fast timing detector (picosecond) based on Resistive Micro-Well (µRWELL) technology.
Application: Time-Of-Flight (TOF) detector for PID
High-luminosity / high-energy upgrades @ JLab
ePIC Detector upgrade & EIC Detector II:
Consolidate Jlab high-profile physics program
    Exploration of application medical field
Introduction
µRWELL-PICOSEC: LDRD R&D Goals
Test beam @ CERN & Preliminary results
Cerenkov radiators & Photocathodes
What’s next? – Large µRWELL-PICOSEC prototype & Optimization of timing performance
Summary & Perspectives
1
2
3
4
Concept of µrPICOSEC: Fast timing gaseous detector based on µRWELL amplification
Cherenkov photons: by relativistic charged particle  prompt photons i.e., time resolution.
Photoelectrons: convert the photons into electrons, at same position in z  timing resolution
Pre-amplification: 1st electrons amplification in high electric field in ~200 µm gas volume
Amplification : 2nd amplification in µRWELL structure high electric field (40 kV/cm)
Electronic Signal: Collection of the induced charges on pick up pad electrode.
uRWELL amplification
Cerenkov photons in radiator
Photoelectrons in photocathode
Pre-amplification in 200 µm gas
Collection of electronic signal
µRWELL concept
Proto I
T50-P140-D70
Proto II
T150-P140-D85
Proto III
T150-P120-D85
78.7 ps
41.5 ps
48.8 ps
Join the PICOSEC Coll. 2 test beam campaigns @ CERN in July 2023 & Aug. –Sept. 2023
Several single-channel µRWELL-PICOSEC prototypes with different parameters were tested
HV scan on both the cathode (pre-amplification) and anode (µRWELL amplification)
Signal rise time and time resolution as function of signal amplitude
µRWELL-PICOSEC K150-H120-85-65 shows best time resolution of 41.5 ps
Single-channel µRWELL-PICOSEC prototypes with different parameters
Technologies
T
PCB support
Pad electrode
DLC layer
Kapton
uRWELL foil
Cross section view of µRWELL-PICOSEC PCB
Nomenclature of µRWELL-PICOSEC prototype: T150-P140-D70
(Kapton thickness) T = 150 µm
(Hole pitch) P = 150 µm
(Holes Outer Diam) D = 70 µm
P: pitch
D: diam
µRWELL hole geometry
1 Jefferson Lab, 12000 Jefferson Avenue, Newport News, VA 23606
2 Stony Brook University, 100 Nicolls Road, Stony Brook, NY 11794
µRWELL foil: amplification device
Radiator: Magnesium Fluoride (MgF2)
Transparency in vacuum ultraviolet (VUV) but low photon yield & large Cerenkov angle = poor spatial information  Will investigate alternative materials:
https://indico.cern.ch/event/757322/contributions/3387110/attachments/1839691/3015624/MPGD2019_WangXu_f.pdf
Photocathode: Cesium Iodide (CsI)
High quantum efficiency (QE) in vacuum ultraviolet (VUV) region which is most radiated by any radiator medium but Sensitivity to water and to Ion bombardment (IBF) of CsI is challenging for high rate
 Investigating alternative materials with similar QE:
  Candidates are B4C, DLC and Nano diamond (ND)
  Radiation hardness and unsensitivity to humid condition
CAEN FERS-5203: 64-ch Pico-TDC
LMH6881: Programmable differential amplifiers
+
Multi-channel Readout & DAQ
Lab test of single channel prototypes
Rohde & Schwarz, RTP164B
High performance oscilloscope:
2 × 16 GHz bandwidth channels for sub-ps timing resolution
40 GSamples/s & 16 bits measurement precision
Provide 64 TDC channels :
~7 ps RMS timing resolution
LVDS input differential signals
3.5 Gbits/s Optical ethernet bus
Test of the LMH6881 evaluation board (Wenze Xi)
Alternative options
Multi channel digitizer SAMPIC (D. Breton, CEA Saclay)
Multi-channel custom-made pre-amplifier (M. Kovacic, U. of Zagreb)
Minimize external source of noise (i.e grounding, cables pick-up antenna …)
Makes it easier to quickly exchange prototypes (replacement of µRWELL-PCBs, photocathodes) during beam test
Courtesy Antonija Utrobicic
New mechanical housing for single-channel µRWELL-PICOSEC prototype
pitch
size
P: pitch
D: diam
Minimize capacitance and time resolution: Minimize µRWELL Cu-to-holes ratio
Square holes vs. round holes
Pitch vs. hole diameter, different hole diameters
Increase Kapton thickness between uRWELL and pick-up pad electrode
New µRWELL-PICOSEC prototypes with various holes geometries
Multi-pad PICOSEC prototypes (Micromegas & µRWELL)
100-pad µRWELL-PICOSEC & MM-PICOSEC prototypes
Parameters based on single-channel prototypes studies
Mechanical housing fabricated in the JLab machine shop
Same housing for MM-PICOSEC & µRWELL-PICOSEC
Multi-channel readout PCB interface board under development
MM-PICOSEC used as reference detector
Large prototypes will be tested in beam at CERN in FY24
Single-channel µRWELL-PICOSEC prototype
Chart: Signal rise time vs. signal amplitude
| 9.9000000000000005E-2 | 0.16 | 0.13400000000000001 | 0.15959999999999999 | 0.1191 | 0.1636 | 0.1865 | 0.215 | 0.32440000000000002 | 0.16320000000000001 | 0.2646 | 0.32600000000000001 | 0.23400000000000001 | 0.08 | 0.121 | 0.27600000000000002 | 0.14130000000000001 | 0.152 | 0.19600000000000001 | 0.21 | 0.28000000000000003 | 0.29199999999999998
T150-P120-D85 | 1.594 | 1.6 | 1.64 | 1.672 | 1.586 | 1.677 | 1.706 | 1.776 | 1.9112 | 1.633 | 1.805 | 1.884 | 1.697
T150-P140-D85 | 1.653 | 1.672 | 1.86 | 1.75 | 1.795 | 1.82 | 1.88 | 1.974
Chart: Timing resolution vs. signal amplitude
| 9.9000000000000005E-2 | 0.16 | 0.13400000000000001 | 0.15959999999999999 | 0.1191 | 0.1636 | 0.1865 | 0.215 | 0.32440000000000002 | 0.16320000000000001 | 0.2646 | 0.32600000000000001 | 0.23400000000000001 | 0.08 | 0.121 | 0.27600000000000002 | 0.14130000000000001 | 0.152 | 0.19600000000000001 | 0.21 | 0.28000000000000003 | 0.29199999999999998
T150-P120-D85 | 53.08 | 45.66 | 48.61 | 44.57 | 49.01 | 45.94 | 42.8 | 41.47 | 51 | 43.45 | 46.4 | 51 | 42.95
T150-P140-D85 | 57.8 | 50.6 | 49.6 | 48 | 46.6 | 47.8 | 46 | 49.6 | 55.1
PICOSEC test bench setup @ RD&I Detector Lab
We will set up PICOSEC test bench in RD&I MPGD lab EEL126
Gas mixture system Ne-C2H10-CF4 (80-10-10) & Vacuum pump
High bandwidth oscilloscope & low noise amplifier (CIVIDEC)
LED & laser sources for single photon detection measurement
Telescope with GEM trackers & MCP-PMT timing reference
The progress on single-channel µRWELL-PICOSEC for fast timing has been encouraging for the Year 1 of the LDRD program
Timing of 41.5 ps was achieved in beam test and the performance is expected to be improved with some design modifications
In Year 2, we will extend the development to large multi-channel µRWELL-PICOSEC prototypes based on the performances results from with single-channel & the development of the associated multi-channel readout & DAQ
We will complete the setup of µRWELL-PICOSEC test bench in the RD&I MPGD lab in EEL126 for prototype characterisation
We plan to present the results at international conferences and publish in peer-reviewed paper by the end of Year 2
We will seek funding opportunities to continue the R&D on µRWELL-PICOSEC technologies beyond the LDRD program
Acknowledgement:
We would like to thanks the great team of the MM-PICOSEC at CERN for the support during summer 2023 successful test beam campaigns at CERN
Florian Brunbauer, Eraldo Oliveri, Martha Lisowska, Alexandra Kallitsopoulou, Karl Floethner & Lucian Scharenberg