## Slide 1
Stefan Baeβler
The pNab experiment and the quest for ever better neutron beam polarization
Inst. Nucl. Part. Phys.

## Slide 2
Standard Model of Elementary Particle Physics (SM)
Mountains of Knowledge in Particle Physics…
Example for SM successes: g-factor of electron:
Theory:
Experiment:
Challenge for theorists: How to not destroy the successes of the Standard Model with new Physics

## Slide 3
Is the Standard Model finally broken?
Kaon decays ()
Unitarity
Kaon and pion decays
(/)
Superallowed nuclear decays
0.960
0.965
0.975
0.220
0.226
0.222
0.224
0.970
Neutron beta decay (selected)

## Slide 4
Motivation to study neutron beta decay
Beyond-standard model physics searches in neutron and nuclear beta decay:
Is the Cabbibo Kobayashi Maskawa (CKM) matrix unitary?
Various unitarity tests possible; most precisely in the first row:
d
u
b
t
s
c
Vud
Vus
CKM Unitarity:
Beta decay
Kaon decays ()
Unitarity
Kaon and pion decays
(/)
Superallowed nuclear decays
0.960
0.965
0.975
0.220
0.226
0.222
0.224
0.970
Neutron beta decay (selected)
From: 2023 Nuclear Physics Long Range Plan for Nuclear Science

## Slide 5
Specific models: E.g.
W. Marciano, A. Sirlin, PRD 35, 1672 (1987).
R. Barbieri et al., PLB 156, 348 (1985)
K. Hagiwara et al., PRL 75, 3605 (1995)
A. Kurylov, M. Ramsey-Musolf, PRL 88, 071804 (2000)
Energy scale of new physics: TeV V. Cirigliano et al., NPB 830, 95 (2010)
Motivation to study neutron beta decay, cont.
Present status:
(experiment, PDG2024)

## Slide 6
Primary motivation for Nab and pNab: for CKM Unitarity test
Need better accuracy in and to fulfill the long-standing hope to base the CKM unitarity test on neutrons. Improving on has the largest impact.
With Nab and pNab, we can measure both and correlation coefficients in the same apparatus.
from neutron beta decay:
PDG2024
UCNTAU only
BL3 (goal)
UCNTAU+ (goal)
from SAF
PDG2024
Nab (goal)
pNab (goal)
PERKEO III only
PERC (goal)
UCNTAU, updated (Aug 24)
Neutron beta decay is a interaction, with two coupling constants that are determined experimentally. Need two experimental inputs, neutron lifetime and ratio of coupling constants from decay correlations

## Slide 7
The Nab experiment
n
e-
p
Measurement of from measurement of proton and electron energy, which is sensitive to .
General Idea: J.D. Bowman, Journ. Res. NIST 110, 40 (2005)
Original configuration: D. Počanić et al., NIM A 611, 211 (2009)
Asymmetric configuration: S. Baeßler et al., J. Phys. G 41, 114003 (2014)
Simulated Performance: J. Fry et al., EPJ WOC 219, 04002 (2019)
Measurement of electron energy spectrum gives the Fierz term , which is sensitive to S and T interaction that would cause anomalous particle helicities.
Nab @ Fundamental Neutron Physics Beamline (FNPB) @ Spallation Neutron Source (SNS)
8 meters
Cold Neutron Beam from left
Multipixel Si detectors for decay electrons and protons

## Slide 8
Idea of the cos θeν spectrometer Nab @ SNS
Energy Conservation in Infinite Nuclear Mass Approximation:
Momentum Conservation:
( is inferred from proton time-of-flight)
n
e-
p
Edges of trapeziums: spectrometer response for from proton TOF.
Slope of trapeziums is proportional to .

## Slide 9
Nab setup at Spallation Neutron Source (SNS)
Spectrometer magnet
Si detectors
Cold neutron beam
FNPB beamline @ SNS
8 m

## Slide 10
Nab Commissioning data from summer 2023
Analysis: Frank Gonzales, ORNL
Commissioning data taken in July 2023, currently transitioning to physics data taking.
Proof-of-principle has been achieved:
  Right: Arrival time and energy for proton candidate signal after electron candidate signal.
Protons
Simulation
preliminary
Events
  Bottom: Event topology from commissioning data

## Slide 11
may indicate V+A
New addition:
Neutron beam polarizer
or may indicate S,T
pNab: Measurement of correlation coefficients with polarized neutrons
Goal: (substantially below)

## Slide 12
Statistical uncertainty for A and b from beta asymmetry
Statistical uncertainty budget:
→ can be reached in 1 year (with events detected)
lower cutoff | none | 100 keV | 200 keV
(SM) |  |  | 
(A free) |  |  | 
 | none | 100 keV | 200 keV
Beta asymmetry
:
Beta asymmetry
]
0
2
0
0
4
0
0
6
0
0
8
0
0
E
e
,
k
i
n
(
k
e
V
)
SM
Note: and are strongly correlated in beta asymmetry. The statistical sensitivity of pNab to is weak and therefore the determination of isnot of major interest, however the sensitivity to in a measurement of the proton asymmetry can be explored.

## Slide 13
Systematic uncertainty for A from beta asymmetry
The main sources of systematic uncertainties of ours and other past experiments are:
Understanding of neutron beam polarization (see later slides)
Understanding of electron detector response (see next slide)
Understanding of solid angle coverage of each detector: Small uncertainty in magnetic spectrometer. S.B. et al, J. Phys. G 41, 114003 (2014)
Understanding of Backgrounds: Unlike competition, we have coincidence with protons. Assuming we detect all protons, this is expected to be negligible.
4
1
2
3

## Slide 14
Electron energy calibration
detected Ee [keV]
Yield
1
10
1
10
2
10
3
10
4
10
5
0
50
100
150
200
250
300
detected Ee for e- in lower detector
detected Ee with only lower detector
Detector response in Si detector for incoming electron with Ee = 300 keV
(mostly) bremsstrahlung
(mostly)backscattering
Specification for | in Nab | in pNab | in Nab
gain factor ) | fit parameter |  | fit parameter
Offset | keV | keV | keV
nonlinearity ( ) | keV | keV | keV
peak width | 1 keV | 10 keV | 3 keV
tail amplitude ( of peak) | 0.01% | 2.40% | 0.1%
Specification for |  |  | 
 | fit parameter |  | fit parameter
peak width | 1 keV | 10 keV | 3 keV
 | 0.01% | 2.40% | 0.1%
width
Tail amplitude
Pulse height
Reconstructed energy
Residual
Pulse height
109Cd
139Ce
113Sn
207Bi
207Bi
Detector systematics
H.Li, Ph.D. thesis (2021)

## Slide 15
Neutron beam polarization, original idea
The original proposal for pNab was to use a He3 polarizer, due to the feature to obtain an in-situ measurement of the polarization. No correction for Stern-Gerlach effects, no depolarization error, no time dependence.
This is at the cost of some stat., and at the cost of having to nurture the polarized He cell continuously.
Neutron TOF
Neutron TOF
Polarization depends on
Asymmetry does not!
See S. Penttila, D. Bowman, J Res. NIST 110, 309 (2005)
MeV
()
()
MeV
keV
MeV
Antiparallel spins:
Parallel spins:
n scattering
3He cell
Unpolarized neutron
beam
Polarized neutron
beam
But: Not favored currently, unproven and technologically difficult.

## Slide 16
refractive index n < 1 (for most materials)
total external reflection e.g. Ni qc = 0.1°/Å
@ smooth surfaces
@ multilayer
@ supermirror
How to reflect a cold (low energy) neutron beam?
Material appears for low-energy neutrons as a uniform potential of a size the strongly depends on material. Usually, the main effect is strong interaction with nucleons. Cold neutrons have a de-Broglie wavelength of Å, larger than the distance between nuclei in a solid, therefore neutrons interact with many of them coherently. Electrons are unseen by neutrons.

## Slide 17
Nb
N(-p)
Nb
Nb
N(+p)
How to polarize a neutron beam?
Idea: Coherent effect of magnetic interaction with electrons in a ferromagnet can be as large as strong interactions with nucleon. If so, refractive index is spin-dependent and cancellation of nuclear and magnetic scattering is possible.
Example: Fe/Si supermirror on silicon substrate, neutrons move in bulk Si
We can use reflected or transmitted beam. Both are polarized (in opposite directions).
Notes: Another couple that works : Fe/Si (Fe magnetic)
same effect on contrast // - anti// but if it would be air : total R
assume subtsrate also Si :
not a dream to use Si : Absoption in Si : for 3A neutrons, absoption length is still 70cm

## Slide 18
Angular dependence
Issues for precision polarimetry
Supermirror angle to beam optimized
Product of polarizer and analyzer efficiency
Wavelength dependence
[Å]
Spin flipper will be discussed by Rebecca Godri (UTK) in a following talk.
Problem: Want , this is too hard if non-uniformities are at the percent level
Few percent
5 percent

## Slide 19
Solution: Solid state polarizer, He3 analyzer
New solid state SM polarizer consist of two stacks of parallel sapphire plates (under a small angle, to avoid direct view).
Developed at Institute Laue-Langevin, Grenoble
A.K. Petoukhov et al., Rev. Sci. Instrum. 94, 023304 (2023)
Reoptimized for Fundamental Physics Beamline at Spallation Neutron Source (J. Pioquinto, UVa):
Transmission: 40% (of all neutrons) just behind polarizer, degrades to 20% (of all neutrons at this place) at the experiment, in straight line
Polarization:
neutrons
FNPB guide
...
...
neutron path
Magnet
Collimation system
Solid State Polarizer
Decay volume
Idea: Very high polarization efficiency doesn’t allow for much non-uniformity

## Slide 20
Neutrons
from FNPB guide
Normalization neutron monitor
Solid state SM polarizer
Spin flipper
Nab
Spectrometer magnet
He3 cell
(analyzer)
Analyzingneutron monitor
FNPB Beamline polarization setup at SNS:
Solution: Solid state polarizer, He3 analyzer
Polarization is analyzed with He-3 spin filter. Transmission of neutrons through a cell with polarized gas is dependent on neutron wavelength, but for a cylindrical He-3 cell only weakly on position or angle.
with κ = 0.0733∙p[Atm]∙λ[Å]∙l[cm]
Goal: . The systematic uncertainty is smaller for .
We can determine beam polarization from three measurements (as a function of neutron wavelength : He polarization up, He polarization down, He unpolarized:

## Slide 21
pNab proposal
The pNab proposal was submitted on July 1, 2024. Proposal Review and Advisory Committee will meet this year. Goal of pNab collaboration is to start after Nab has finished data taking.

## Slide 22
Summary
Currently, unitarity of the CKM matrix is violated by about . This test is based on from superallowed nuclear decays and Kaon decays. Selected neutrons decay experiments contribute. All inputs are under scrutiny. is not usually considered a big deal, but should be understood.
Neutron beta decay could replace nuclear beta decay if experiments gain accuracy. There is steady, albeit slow progress. The experiments Nab and pNab at its goal uncertainty makes a substantial impact to the unitarity test (tackling the weakest neutron beta decay input).
Nab is transitioning to data taking
Proposal for pNab has been submitted. Most important systematic uncertainty is the measurement of the neutron beam polarization. The concept of neutron beam polarizer and analyzer is based on spin physics that is well-understood. However, the systematic uncertainties in the polarization measurement are complicated.

## Slide 24
Neutron beta decay lifetime
Beam: Decay rate:
Bottle: Neutron counts :
with
UCNTAU
NIST-BL1/2
Discrepancy between beam and bottle may be real (decay into dark particle, not otherwise detected, or an experiment error. Previous analysis uses only last data point. Many new experiments:
Magnetic bottles (UCNTAU+, LANL, τSPECT, TRIGA Mainz; PENELOPE, TU München)
Beam Lifetime BL2 and BL3, NIST
UCNProBe, LANL: UCN trap in which both decay rate and neutron count decay are observed.
Courtesy A. Young

## Slide 25
Potential neutron decay sources stronger than in use in the past
Cryostat
Magnetic Filter
MAC-E filter
(as in “aSPECT” – see later)
R×B spectrometer for or (NOMOS)
Electron or proton detector (Plastic scintillator, silicon)
(+ backscatter detector?)
MLZ München, TU Vienna, U Heidelberg et al.
Transverse displacement of beam
Cold neutrons (PERC)
Concept similar to PERKEO III, very high decay rate (up to MHz) in long neutron guide
Versatile source of decay products can be coupled with different proton or electron detectors

## Slide 26
.
Ultra cold neutrons
UCNA
Recent upgrades of UCN source at LANL allow for count rates that allow for (UCNA+).
Also, improvements to detection system planned to reduce uncertainty associated with backscattering
Potential neutron decay sources stronger than in use in the past
T. Ito et al., PRC 97, 012501(R) (2018)
2004 2006 2008 2010 2012 2014 2016
Year
UCN density (UCN/cm3)
200
180
160
140
120
100
80
60
40
20
0

## Slide 27
,
Status of Nab experiment: Characterization of Detector
127 pixel Si detector, 2 mm thick
Energy resolution a few keV
Lower (proton) detection threshold 10 keV
Detector transit time bias sub-ns
Proton detection
Electron detection
Proton source:: N. Macsai, A. Mendelsohn, M. Gericke, (U. Mantiboa), R. Mammei (U. Winnipeg)
Jin Ha Choi, Leendert Hayen
Analysis:
Detector Design: M. Makela et al., LANL, L. Broussard et al., ORNL
preliminary
preliminary

## Slide 28
m-value: critical angle of supermirror in units of critical angle of natural Ni
Warning: Parametrization not standard, check definition of m and reflectivity
Image from Swiss Neutronics web page
Supermirrors
Larger m-value of a supermirror comes at a cost: One needs more and thinner layers, which increases internal stress, is more challenging to produce, and more expensive