## Slide 1: Computational NMR Model for Deuteron Vector & Tensor Polarization
Elena Long
PSTP
Sept. 24th, 2024

## Slide 2: Tensor Polarization Basics
m = -1
m = +1
m = 0
Spin-1
System
Tensor
( + )-2
J Forest, et al, PRC 54 646 (1996)

## Slide 3
Building NMR
Proton

## Slide 4
Building NMR
Deuteron
Courtesy C. Keith

## Slide 5: Quick Note on Notation for Experts
  This simulation based on M.H. Cohen, F. Reif, Solid State Phys. 5, 321 (1957)
  Major difference with Abragam is definition of quadrupole freq.
Cohen & Reif
Abragam
Cohen & Reif
Abragam

## Slide 6: Energy Levels
  Deuteron energy levels dependent on orientations of holding field & molecular field
  These fields are described by the quadrupole angles and
q
Example:
the ND3 molecule
N
D
Courtesy C. Keith
Deuteron
Larmor Freq.
Spin State
-1, 0, +1
Deuteron
Quadrupole Freq.
-Dependent
Asymmetry Parameter

## Slide 7: Energy Levels  NMR Frequencies

## Slide 8: Initial Populations
  Simulation doesn’t care how polarization was obtained, but uses and as inputs to determine population levels

## Slide 9: -Dependent Populations
  Integrations over causes a dependence for # of nuclei with particular quadrupole angles
M. Eden, Conc. in Mag. Res. A 18, 24 (2003)

## Slide 10: Counting Spin Flips
  Simulation creates >300k individual spin flips to build frequency-dependent counts of spin flips

## Slide 11: Broadening
  Each bin of spin flip counts is broadened by a Lorentzian
    Includes broadening of both absorptive (real) and dispersive (imaginary) to account for phase tuning
  Broadening based on lessons learned with simple oscillator signal on various tunes using VNA
  Used to model both real & imaginary NMR signals, as well as combinations of both

## Slide 12: Real & Imaginary Deuteron NMR Signals
Preliminary
See M. McClellan’s Talk

## Slide 13: Measuring Polarization
For vector polarization,
For tensor polarization,
Reducing
Increases +
Line shape fits used to extract and area difference
D. Keller, et al., NIM A 981, 164504 (2020)
D. Keller, Eur. Phys. J. A 53, 155 (2017)

## Slide 14: Selective Semi-Saturation of RF (ssRF)
[1] D. Keller, et al., NIM A 981, 164504 (2020)
[2] D. Keller, Eur. Phys. J. A 53, 155 (2017)
[3] A. Abragam, Principles of Nuclear Magnetism (1961)
[4] J. Clement, D. Keller, NIM A 1050, 168177 (2023)
  Technique developed by D. Keller & UVA Polarized Target Lab[1,2]
  Additional RF coils drive spin-flips within NMR frequencies to minimize while having a minimal or enlargement factor on
    Area reduction of causes a ½ area increase of
    To measure , a line shape derived from Abragam was used that allows for manipulated spin states with different polarizations at different frequencies (and thus different values of ) [2,3]
  UVA achieved using ssRF[1] on peak and shoulder of
  UNH simulation in agreement with UVA measurement

## Slide 15: RF Manipulation: ssRF & AFP
  RF-induced spin flips are parameterized by an ‘efficiency’ parameter to induce additional frequency (and thus ) dependent spin flips
  This creates new bin-by-by vector & tensor polarizations

## Slide 16: : Simulates ssRF
  Bin-dependent depolarizations from ssRF are modeled with

## Slide 17: : Simulates AFP*
  Bin-dependent population inversions from AFP are modeled with

## Slide 18: Q-Curve & Noise Simulated

## Slide 19: Comparisons w/ Data (from last week)
Extremely Preliminary
Extremely Preliminary
See talks by
K. Slifer, S.N. Santiesteban, A. Zec,
M. McClellan, C. Lama, D. Ruth

## Slide 20
Z. Wolters PhD Student
E. Long
PI
M. McClellan PhD Student
D. Ruth Post Doc
A. Zec
Post Doc
N. Santiesteban PI
K. Slifer PI
Thank you!
C. Lama PhD Student
A. Aurora PhD Student
M. Farooq PhD Student
O. Olokunboyo PhD Student
H. Chinchay PhD Student

## Slide 22: Backup Slides

## Slide 23: Spin Temperature

## Slide 24: SDR-based VNA NMR
SDR = Software Defined Radio
Simultaneous measurement of all parts (Real & Imaginary) of NMR signal
~$450
Using Eq (1), Eq (3), & Table I from Yu.F. Kisselev et al., NIM A 354, 249 (1995)
DNP-Enhanced Proton Signal

## Slide 25: VNA NMR – Multiple Signals @ Same Time
Does not require soldering new tank circuits to use with different nuclei (ie, 5T proton @ 213 MHz and 5T deuteron @ 32 MHz)
Can measure multiple nuclei simultaneously
Proton
19F
(from Kel-F Cup)
~$4k

## Slide 26: VNA NMR – Q-curve BG Studies
Can measure extremely wide frequency ranges (~up to 50 MHz span w/ NMR signal, 0.001-6 GHz span for Q-curve background studies)
  Normally only +/- 400kHz measured
Combining Real & Imaginary information over a large frequency range may remove need for a baseline!
4T Proton
100 MHz to 215 MHz

## Slide 27: VNA NMR – Re & Im + Q-curve BG Studies
Absorption (Real) vs. Dispersion (Imaginary) creates circles for Lorentzian signals
D.C. Roe, A.G. Marshall, Analytical Chemistry, 50, 756 (1978)
D.C. Roe, A.G. Marshall, Analytical Chemistry, 50, 764 (1978)
Tuned NMR cables are Lorentzian with NMR signals on top
Enhanced proton signal on VNA

## Slide 28: New BG Subtraction Method
Proton Signal
‘Q-Curve’ Background
Re(Z) vs. Im(Z) creates easy-to-fit circles!
Signal on Top = Good Tune
Signal on Left/Right = Re(Z) signal hidden
(Looks like Im(Z) when near sides, goes away when equal to sides) Signal on Bottom ½ = ‘Flipped’ Proton Signal

## Slide 29: New BG Subtraction Method
Fit BG circle w/ radius & center offset
Subtract out BG circle
Plot remaining Re(Z) vs. Frequency

## Slide 30: New BG Subtraction Method
Remaining background is extremely flat
Works from TE through enhanced