## Slide 1: Dark-Photon (A’) Search with APEX
Presenter: Seth Hall Texas A&M University
Spokespeople: R. Essig, P. Schuster, N. Toro, B. Wojtsekhowski
PR-10-009, E12-10-009

## Slide 2: Outline
Background: Dark Matter & the A’
APEX experimental Setup
Analysis
  Challenges, methods, results
Next Steps
  New Optics Approach

## Slide 3: Background: Dark Matter & the A’
Astronomical evidence suggests presence of invisible (i.e. dark) matter
Galaxy Rotation curves
Direct observation in cluster collisions
Invisible mass
Visible mass

## Slide 4: Background: Dark Matter & the A’
A new vector boson (A’, a dark photon) could be a ‘portal’ from SM to dark sector particles.
Standard-model Lagrangian
SM Electromagnetic
Field-Strength Tensor
Dark-photon Field-Strength Tensor
Coupling between and A’
Kinetic mixing of A’ with and A’
Notes: SM Lagrangian: JWThesis.

## Slide 5: Background: Search for The A’
Scattering from fixed target gives rise to dark bremsstrahlung
target ()
beam energy
S/B is optimal at equal angles (momenta)
angle resolution is critical for resolution!
()
()
A’ Signal
Background
°
APEX momentum acceptance
[J.D.Bjorken et.al., “The A’ Experiment (APEX)”]
Notes: Parameter-space taken from Vardan’s 2018 APEX update

## Slide 6: A’ Invariant Mass Resolution
Objective: minimize
- HRS angular resolution
- Multiple-Scattering contribution
Previously reported for APEX (mrad)
[J.Williamson, PhD Thesis]:
 | LHRS | RHRS
 | 1.74 | 1.94
 | 0.56 | 0.59
 | LHRS | RHRS
 | 1.74 | 1.94
 | 0.56 | 0.59
Notes: Parameter-space taken from Vardan’s 2018 APEX update

## Slide 7: A’ Parameter-Space
Goals of APEX: Search the A’ parameter space:
)
2010 Test Run:
  0.77 M pairs
2019 Full Run:
  175 M pairs
  (before PID,
  z-vertex cut)
[Tim Nelson, “HPS Update”. PAC52 Review, 2024]
Notes: Parameter-space taken from Vardan’s 2018 APEX update

## Slide 8: APEX Setup: HRS arms + Septum
Both High-Resolution Spectrometer (HRS) arms used in coincidence-mode
Beam:
15-50 μA
2.1 GeV
Notes: Plots from APEX Test-run PRL

## Slide 9: APEX Setup: HRS arms + Septum
Must use Septum to accommodate HRS min. angle!
Beam:
15-50 μA
2.1 GeV
Min HRS Angle
Angle
Notes: Plots from APEX Test-run PRL

## Slide 10: APEX Setup: The Target
Target: 10 Tungsten Foils
Thickness:
Spacing:
Notes: Plots from APEX Test-run PRL

## Slide 11: HRS Detector Package
Left HRS
Right HRS
Vertical Drift Chambers
4x drift-chambers for precise tracking μm/plane)
Gas Cerenkov Counter (x10 channels)
S2 Scintillator (x16 paddles)
Shower EMC Detectors
DAQ Electronics
DAQ Electronics
Notes: Plots from APEX Test-run PRL

## Slide 12: Coincidence Timing
1. Check all S2-hits of both arms. Select events by:
- S2 paddle time, RHRS
- S2 paddle time, LHRS
Coinc-Event Cut:
Before PID, z-vertex cut

## Slide 13: Detectors: Vertical Drift Chambers
One Vertical Drift Chamber (VDC) in each HRS
Two pairs of orthogonal drift-planes; named U1, V1, U2, V2.
Accuracy of / plane
368 sense-wires / plane, spacing =
Notes: All these taken from ‘Basic Instrumentation of Hall-A’

## Slide 14: Detectors: Vertical Drift Chambers
LHRS
RHRS
Challenges:
High accidental rate of LHRS makes finding good tracks difficult!
Notes: All these taken from ‘Basic Instrumentation of Hall-A’

## Slide 15: Detectors: Vertical Drift Chambers
Challenges:
High-voltage was too low for Left-HRS VDC!
Post-fix
Pre-fix
(Not total accumulated charge)
Notes: All these taken from ‘Basic Instrumentation of Hall-A’

## Slide 16: Detectors: Vertical Drift Chambers
Challenges:
Lower High-Voltage for Left-Arm VDCs (lower track-reconstruction efficiency)
Pre-fix
Post-fix
Track-efficiency VS drift-distance
How often are TDC hits ‘missing’?

## Slide 17: VDC Occupancy
Single-event Picture:
S2
VDC: V2
U2
V1
U1
Accepted track
Rejected Track
S2 hit
wire #
wire #
wire #
wire #
paddle #
Track intercept with S2-plane
Track time

## Slide 18: Track Reconstruction
2. The passage of through the drift-planes creates TDC hits
S2
U2 & V2
U1 & V1
Coinc S2 hit: the timing of this S2-hit matches the other arm
Non-Coinc S2 hit: this hit can be rejected

## Slide 19: Track Reconstruction
2. The passage of through the drift-planes creates TDC hits
S2
U2 & V2
U1 & V1
Coinc S2 hit: the timing of this S2-hit matches the other arm
Once S2 hit is selected, it can be used to only look at parts of VDC where matching track could be

## Slide 20: Track Reconstruction
Particle passage through drift-planes create TDC hits
Wire #
TDC time (ns)
600
0
drift
time
drift distance

## Slide 21: Track Reconstruction
Wire #
TDC time (ns)
600
0
Groups: hits, gap wires.
Clusters: grid-search for clusters with hits. (use S2 time as guess)
Groups with no clusters are discarded
Use time of chosen S2-hit
Steps of track reconstruction:

## Slide 22: Track Reconstruction
S2
U2 & V2
U1 & V1
Groups with no clusters discarded
Groups: hits, gap wires.
Clusters: grid-search for clusters with hits. (use S2 time as guess)
Pairs: pair clusters in each plane.
Clusters
Pairs
Steps of track reconstruction:

## Slide 23: Track Reconstruction
Groups: hits, gap wires.
Clusters: grid-search for clusters with hits. (use S2 time as guess)
Pairs: pair clusters in each plane.
‘Raw’ Tracks: build tracks using pair-combinations.
S2
U2 & V2
U1 & V1
‘Raw’ Tracks
Steps of track reconstruction:
False track! Must be rejected…
Track intercept with S2

## Slide 24: Track Reconstruction
Using S2 hits, accidental tracks can be rejected
Use Track intercept with S2
Use Track time at S2
(m)
(paddle width)
Paddle center
(center of paddle)
(ns)
(for post-fix
runs)

## Slide 25: Track Reconstruction
Groups: hits, gap wires.
Clusters: grid-search for clusters with hits. (use S2 time as guess)
Pairs: pair clusters in each plane.
‘Raw’ Tracks: build tracks using pair-combinations.
‘Refined’ Tracks: final track positions determined..
S2
U2 & V2
U1 & V1
Steps of track reconstruction:
Track rejected,
does not match with S2-hit

## Slide 26: Tracking: Refining Tracks
Must find precise intercepts for ‘raw’ tracks
Initial guess
Real trajectory
TDC time

## Slide 27: Tracking: Refining Tracks
To refine track, minimize error:
TDC time
Timing offset of track (using S2)
(model)
(real)

## Slide 28: Tracking: Newtown’s Method
Different optimization methods:
Least squares:
  Pros: Quick, analytical (for lin. Systems)
  Cons: Susceptible to outliers
Max-Gauss:
  Pros: Resistant to outliers
  Cons: Non-analytical, sensitive to first-guess
noise
peak
peak

## Slide 29: Tracking: Newtown’s Method
To find best track (), Solve
Where
4 VDC-plane intercepts
Track time-offset
In other words, find the root:
Nonlinear equation in 5 dimensions!

## Slide 30: Tracking: Newtown’s Method
To find best track (), Solve
Where
Q: How can we solve a nonlinear system in 5 variables?
A: Newton’s Method!
Next guess
Current guess
Jacobian matrix Defined as:
Converges very quickly, provided suitable initial guess!

## Slide 31: Time / Distance Drift-Model
Drift-Time (ns)
Drift-Dist (mm)
zero-val. Of t
x-val where model goes from quadratic to linear
t-val where model goes from quadratic to linear
slope of lin. region
controls shape of quadratic region
Linear
region
Quadratic region
5 – parameter drift model:

## Slide 32: Evaluating Accuracy of Tracks
Error of track-intercepts can be estimated:
s
Sys. Error of TDC
mm
Per-Plane Track Error from TDC ()

## Slide 33: Evaluating Accuracy of Tracks
Error of track-intercepts can be estimated:
If time-to-distance model is imperfect, there can be periodic error of plane-intercept!
(m)

## Slide 34: Evaluating Accuracy of Tracks
Error of track-intercepts can be estimated:
Pre-fix
Post-fix

## Slide 35: Analysis: Results
Chart: 
| Post Voltage-Fix | 30 μA | 50 μA
Old code | 0.95 | 0.641 | 0.13
New Code | 0.91 | 0.905 | 0.65

## Slide 36: Analysis: Results
Run Number
Pre-Optimization
Post-Optimization

## Slide 37: Next Steps: Optics for APEX
Vertical Wire ()
Septum
Standard HRS magnets (QQDQ)
Sieve
Targets:
  Vertical / Horizontal Tungsten Wires
  Carbon Foils
Detectors
Goal: construct map
Notes: All these taken from ‘Basic Instrumentation of Hall-A’

## Slide 38: Next Steps: Optics for APEX
(Ideal) HRS optics approach:
Assumptions:
Perfect HRS alignment
Independence of coords. (Untrue with Septum, Symmetry Broken!)
Note:
Notes: All these taken from ‘Basic Instrumentation of Hall-A’

## Slide 39: Next Steps: Optics for APEX
Optics with Septum:
For each coordinate, high-order poly:
3rd-rank tensor, which is itself poly. In
Typically 3rd-5th order in
Note:
Notes: All these taken from ‘Basic Instrumentation of Hall-A’

## Slide 40: Next Steps: New Optics Approach
Consider: in Lab frame, each track has 5 DoF, i.e. ,
VDC-tracks have 4 DoF, i.e.
Septum
Standard HRS magnets (QQDQ)
Detectors
First W-foil
Last W-foil
If is known, we can use BPMs to find , but this is impossible with large spacing of w-foils!

## Slide 41: Next Steps: New Optics Approach
When mapping information must be discarded
New Approach: Map From
Septum
Standard HRS magnets (QQDQ)
Detectors
Projection of all possible target positions onto target
Use BPM-positions to choose best-fit track
A spectrum of possible trajectories at target!

## Slide 42: Summary
New tracking code is able to increase statistics by a factor ~2.
Full replay of all production runs completed in April 2024, will be re-done (with minor updates) in August 2024.
New Optics Approach will be evaluated for accuracy & its ability to filter background events

## Slide 43: Backup Slides

## Slide 44: Backup Slides
Error prediction per-plane: ()
mm
Track Error Prediction
mm
Per-Plane Track Error from TDC ()

## Slide 45: Backup Slides
Error prediction per-plane: ()
Use ‘toy’ perturbation function:
50k Monte-Carlo events
(m)
(m)
(m)

## Slide 46: Backup Slides
Error prediction per-plane: ()
Accuracy:
RMS, actual (mm)
RMS, from histogram (mm)
(m)
200k MC stats per point
(same which was used in real-track testing)