## Slide 1
HPS in Hall-B

## Slide 2: HPS in Hall-B
CLAS12
Beamline viewer and beam dumps
HPS
Tagger dipole
2H00
2H01
2H02
Forward carriage

## Slide 3: HPS in Hall-B
Scintillation hodoscope
2H02A
2H02A Harp
Photon Dump
Downstream Viewer
Faraday cup

## Slide 4
Repairs and changes to the HPS chicane
Old power supply for the Moller polarimeter quad have been moved, repurposed for HPS chicane.
Refurbishment of Frascati magnets are ongoing (acc. magnet group).
Mini-T
Moller-quad

## Slide 5: Beamline upgrade
FC moved downstream by about 21 metrs.
FC is approved for 1 kW beam power
Beam blocker is approved for 15 kW beam power

## Slide 6
What do we need for the next run
A new chiller for Ecal.
Coolant for SVT: 5 bottles of 7000, 11 bottles of 7100 and 4 bottles of 7500.
Repairs to Ecal (minor).
Repairs to SVT and SVT-DAQ, ongoing.
Runs for calibrations – changes to setup or to the trigger.
Another target ~10 am upstream of the nominal target.
0-field run, with only the first magnet on.