## Slide 1
Topics:
Calibration activities: RG-A, C, D, E, K
DC calibration suite update
“Online” calibrations + commissioning: RG-L
Summary

## Slide 2
Active Run Groups in Calibration Mode – March 2025
2
# | Run Group | Dataset | Conditions | Run Range | Stage
1 | RG-A | Spr18 | LH2 6.4, 10.6 GeV, inbending+outbending (+ 2.2 GeV zero-field from engineering run) | 3029 - 4325 | Cooking
2 | RG-C | Spr23 | Polarized NH3, ND3, 10.5 GeV, inbending; FT-On/FT-Off | 16843 - 17811 | Cooking
3 | RG-D | F23 | LD2, C, Cu, Sn 10.6 GeV inbending+outbending | 18329 - 19130 | Cooking
4 | RG-E | Spr24 | LD2, C, Cu, Al, Sn, Pb 10.5 GeV | 20015 – 20525 | Calibrating
5 | RG-K | Spr24 | LH2 6.4, 8.5 GeV outbending | 19200 - 19893 | Calibrating
Five different datasets are being calibrated in parallel
+
RG-L/ALERT upcoming
 | Analysis Coordinator | Chef
RG-A | Timothy Hayward | Nick Trotta
RG-C | Silvia Niccolai | Li Xu
RG-D | Lamiaa El Fassi | Mathieu Ouillon
RG-E | Hayk Hakobyan | Antonio Radic
RG-K | Annalisa D’Angelo | Lucilla Lanza
RG-L | Mohammad Hattawy | Mathieu Ouillon, Noémie Pilleux

## Slide 3
3
Calibration Timeline: June 2024 - January 2025
RG | 
A | 
C | 
D | 
E | 
K | 
L | 
June July August September October November December January
Spr18 pass-2 calibration
alignment
calib review
pass-1 calibration
calib review
alignment
pass-1 review
F22 pass-1 review
Spr23 pass-1 calibration
calib review
pass-1 calibration
Spr23 pass-1 review
pass-1 review
online calib
F22 pass-1 calibration
alignment
pass-1 calibration
pass-1 calibration
pass-1 calibration
November 8, 2024

## Slide 4
RG-C Spr23 - Status
4
[1] RG-C Spr23 – Pass-1 calibration review May 17, 2024
Timeline:
Original calibration window:
    Apr. 15 – Jul. 15, 2024
  Updated calibration window:
    Jul. 1 – Nov. 30, 2024
    Start delayed 2.5 months to finish RG-C F22 work
    2 week delay due to computing resources
    1 month delay due to beam offset/CVT position studies
    2 week delay due to FT-Cal calibrations
    2 week delay due to efficiency characterization
    2 week delay due to manpower availability
Pass-1 review: Feb. 19, 2025
Cooking: Feb. 27 – XXX, 2025
DC
ECAL
FTOF
CND
400 mm
300 ps
0.23-0.26
75 ps

## Slide 5
RG-A Spr18 - Status
5
Timeline:
Original calibration window:
    Jan. 8 – Jun. 21, 2024 (included alignment tasks)
  Updated calibration window:
    Jun. 1 – Aug. 31, 2024 (after completion of alignment)
    3 months delay to finish/investigate alignment
    1 month delay due to beam offset calibrations
    1 month delay due to need for additional calibration iterations
    1 month delay due to DC calibration studies
    1 month delay due to cooking issues
    1 month delay due to manpower availability
Pass-1 review: Feb. 26, 2025
Cooking: TBD
 | Run range | Beam | Torus | Solenoid
1 | 3000-3069 | 6.4 GeV | -100% | -100%
2 | 3070-3087 | 6.4 GeV | -75% | -100%
3 | 3097-3105 | 6.4 GeV | 75% | -100%
4 | 3131-3293 | 10.6 GeV | 100% | -100%
5 | 3304-3551 | 10.6 GeV | -100% | -100%
6 | 3698-3817 | 10.6 GeV | -100% | -100%
7 | 3819-3834 | 6.4 GeV | 75% | -100%
8 | 3839-3853 | 6.4 GeV | 100% | -100%
9 | 3855-3857 | 6.4 GeV | 100% | -50%
10 | 3862-3987 | 10.6 GeV | 100% | -100%
11 | 4001-4325 | 10.6 GeV | -100% | -100%
Note: DC HV was reduced for this run compared to F18 settings; “massive” version of FMT installed
[2] RG-A Spr18 – Pass-1 calibration review Dec. 1, 2023

## Slide 6
RG-A Spr18 - Status
6
DC
ECAL
FTOF
CND
CTOF
400 mm
±20 ps
0.23-0.26
±20 ps
±100 ps
ALU
pT (GeV)
ALU
xB
DVCS
e′p+X SIDIS
ep → e′p′p+X
ep → e′p′p-X
ep → e′p+p-X
MM(e′K+) (GeV)
M (GeV)
M (GeV)
M (GeV)

## Slide 7
RG-D F23 - Status
7
Timeline:
DC alignment:
  Initial alignment in Oct. 2023 – completed re-work in June 2024 - 5-month delay to original schedule
Updated calibration window:
Aug. 26 - Dec. 20, 2024
1 month delay due to DC time offset calibration
2 month delay due to DC time-to-distance calibration
Pass-1 review: TBD
Cooking: TBD
Target | Schedule
LD2 | 3
63Cu/118Sn | 8
LD2 | 3
12C/12C | 7
LD2 | 2
63Cu/118Sn | 9
LD2 | 3
12C/12C | 7
LD2 | 3
63Cu/118Sn | 11
[3] RG-D F23 – Pass-1 calibration review Sep. 20, 2024

## Slide 8
RG-D F23 - Status
8
DC
400 mm
±20 ps
0.23-0.26
±20 ps
±100 ps
Where do things stand?
    CALCOM “ready for calibration” review complete
    DC alignment/CVT alignment complete
    Beam offset calibration complete
    Calibrations complete: CND, CTOF, ECAL, FTOF, HTCC, LTCC, RICH, RF, BAND
    DC calibrations – first dataset with new suite and protocols – impressive results closer to best achievable
  Remaining work:
    Hardware status tables mostly filled
    AI network training for DC (to be checked)
    Physics validation and ancillary information checks
    Pass-1 cooking review by Apr. 2025
CND
CTOF
FTOF
ECAL

## Slide 9
DC Calibration Suite
Recent improvements in the DC calibration suite:
Improve algorithmic approach to account for time-walk correction
Improve B-field dependent parameterization for R2
Add improved metrics for calibration convergence
Improve event selection + fitting approach
Before
After
space residual (mm)
178 mm
SL1 SL2 SL3 SL4 SL5 SL6
R2 space residual (mm)
time (ns) vs. DOCA
Veronique Ziegler/Florian Hauenstein
Dtime (ns) vs. DOCA
9
150 mm 152 mm 209 mm 202 mm 141 mm 143 mm
196 mm 204 mm 241 mm 229 mm 301 mm 310 mm

## Slide 10
10
DC Calibration Suite
MEAN
WIDTH
MEAN
WIDTH
400 mm
±100 mm
RG-D calibration

## Slide 11
11
DC Calibration Suite
RG-D calibration
Pressure dependence remains – still to be understood

## Slide 12
RG-K Spr24 - Status
12
[4] RG-K Spr24 – Pass-1 calibration review Oct. 11, 2024
Where do things stand?
    CALCOM “ready for calibration” review complete
    DC alignment/CVT alignment complete
    Beam offset calibration complete
    1st/2nd rounds of subsystem calibrations performed – some final “clean-up” remains
  Remaining work:
    DC calibrations (using lessons learned from RG-D)
    Hardware status tables
    AI network training for DC
    Physics validation and ancillary information checks
    Detailed study of DC resolution vs. HV
    Pass-1 cooking review by Apr/May 2025
Timeline:
Original calibration window:
    Oct. 15, 2024 – Feb. 7, 2025
    2 month delay to start DC calibrations
Pass-1 review: TBD
Cooking: TBD

## Slide 13
RG-K Spr24 - Status
13
DC
400 mm
±20 ps
0.23-0.26
±20 ps
±100 ps
CND
CTOF
FTOF
ECAL
Note:
DC calibrations now getting underway
Change from RG-D is that sector-dependent calibrations will be used (Veronique Ziegler)
SPR24
“online” studies
“offline” studies
RG-D

## Slide 14
14
RG-E Spr24 - Status
[5] RG-E Spr24 – Pass-1 Calibration review Jan. 31, 2025
Where do things stand?
    CALCOM “ready for calibration” review complete
    DC alignment/CVT alignment complete
    Beam offset calibration complete
    RF, FTOF calibrations complete
    Subsystem calibrations in progress
  Remaining work:
    DC calibrations – getting underway
    Hardware status tables
    AI network training for DC
    Physics validation and ancillary information checks
    Pass-1 cooking review by May/Jun 2025

## Slide 15
15
RG-L Spr25 - Status
[6] RG-L – Online calibration
  RG-L (ALERT) – Mar. 24 – Sep. 7, 2025:
  Initial commissioning key to verify ALERT detectors (AHDC, ATOF) are working and data is sensible for physics running
  Setup online pass-0 monitoring to cook data/update timelines daily
  Complete initial calibration of Forward Detector subsystems following standard protocols
  Test AHDC and ATOF calibration suites with beam data to continue development, validation, and procedures
  Analysis Coordinator (Mohammad Hattawy)
  Chefs (Mathieu Ouillon, Noémie Pilleux)
Goal: complete all pass-1 calibrations within 6 months of the end of the run
Configurations:
1-pass commissioning (7 days)
5-pass production (100+ days)
3-pass production for extension (37 days)

## Slide 16
RG-L Spr25 – Calibration Challenge
16
Goals:
test calibration suites on pseudo-data generated with distorted calibration constants
verify extracted constants are consistent with original ones
verify resulting resolutions are consistent with expected
verify HW status from knocked-out channels
CLAS12-Note 2017-10
ATOF:
Time offsets
Attenuation length
Effective velocity
Time walk
Paddle-to-paddle
AHDC:
Time offsets
Time-to-distance
ATOF
AHDC

## Slide 17
RG-L Spr25 – Commissioning Plan
17
Calibration Plans for CTOF and CND
in ALERT Run
Florian Hauenstein, Mohammad Hattawy
February 2025

## Slide 18
Calibration Timeline: February – September 2025
February 28, 2025
RG | 
A | 
C | 
D | 
E | 
K | 
L | 
February March April May June July August September
pass-1 review
pass-1 calibration
pass-1 review
pass-1 calibration
pass-1 calibration
pass-1 review
calib review
pass-1 review
pass-1 review
18
online calibration

## Slide 19
Summary
CALCOM has been overseeing the detector calibrations of the different CLAS12 datasets:
  Completed: RG-A, RG-C
  Current focus: RG-D, E, K
  On the near-term horizon: RG-L
CALCOM is a critical service-work committee for the CLAS Collaboration:
  Lots of folks are part of this work: CALCOM, coordinators, chefs, timeline crew,
  subsystem leaders, calibrators, alignment team, Software Group, data validators, …
Notes:
  Beginning work to calibration tools for improved speed/quality
    Calibration task force – see talk by Raffaella De Vita
  Discussion of upcoming pass-3 (DC tracking + AI for CVT tracking)
    Plans to be discussed
19
But they always come back!

## Slide 20
Backup Slides

## Slide 21
https://clasweb.jlab.org/wiki/index.php/CLAS12_Calibration_and_Commissioning
Fridays @ 10 a.m.
clas12_calcom@jlab.org
21

## Slide 22
22
RG-K Commissioning Run – Dec. 2023
Run Number | R1 DC HV Setting | R2 DC HV Setting | R3 DC HV Setting
19220 | 10 | 11 | 11
19222 | 11 | 12 | 12
19223 | 9 | 10 | 10
19224 | 10 | 10 | 10
19225 | 10 | 10 | 11
19226 | 10 | 10 | 11
19228 | 10 | 12 | 11
19229 | 10 | 11 | 10
19238 | 10 | 11 | 12
19239 | 12 | 13 | 13
19243 | 11 | 11 | 11
19244 | 10 | 12 | 10
History of HV settings for (R1, R2, R3):
(8, 10, 9) : RG-A Spr18
(8, 9, 9) : RG-A F18 (early)
(9, 10, 10) : RG-A F18, RG-A/B Spr19
(10, 10, 10) : RG-M, RG-C
(10, 11, 11) : RG-D, RG-E
(11, 12, 12) : RG-K Spr24 (1)
(10, 12, 11) : RG-K Spr24 (2)

## Slide 23
23
Pass-X Readiness Reviews
Committee: Marco Battaglieri (chair), Nathan Baltzell, Marco Mirazita, Cole Smith, Larry Weinstein
Role: Final review of calibration quality, status tables, software and scripting before recommendation to CCC to approve production cooking (see the generic review charge).
Reviews:
RG-B Spr19: Oct. 28, 2022
RG-M 21/22: May 23, 2023
RG-A Spr19: May 31, 2023
RG-K W18: Aug. 16, 2023
RG-A F18: Sep. 22, 2023
Notes:
The calibration quality for all subsystems should meet the defined QA specifications for all datasets to allow for minimal systematics when combining data taking years apart.
The calibration QA specifications are well defined and the Run Groups are held to the same standards.
The committee prepares their report for delivery to the CCC to give approval to start data processing.
RG-B F19/W20: Nov. 1, 2023
RG-C Sum22: Jan. 26, 2024
RG-C F22: Aug. 28, 2024
RG-C Spr23: Feb. 19, 2025
RG-A Spr18: Feb. 26, 2025
10 reviews completed since Oct. 2022