## Slide 1
A new pulsed low energy positron system at the UniBwM-Lab:
Design and current status
R. Helm, W. Egger, P. Sperr, J. Mitteneder,
M. Dickmann, P. Oberlaender, G. Dollinger
LEEPP@JLab
24.03.2026

## Slide 2
Positron Group at UniBwM
Concepts of pulsed beams
Source section
Bend & E-filter
Pulsing section
Next steps
Outline

## Slide 3
Pulsed Positron beam for materials science
PLEPS
SPM
CDBS
PAES
OP
NEPOMUC
Pulsed Low Energy Positron System (PLEPS):
Semiconductors (GaN, MAPbI3, diamond)
Metals (W, Steel, Nb, AlCuMg)
High-k dielectrica (HfO2, Ga203, SiO2)
Polymers (MOFs, membranes)
Thin-films and Thin-layered systems
57 publications (2015-2022)
2-4 beamtimes per year
seperate system:
test beamline components
preliminary characterization
Scanning Positron Microscope (SPM):
Talk by J. Mitteneder
MLZ
UniBwM

## Slide 4
Positron Group at UniBwM
Concepts of pulsed beams
Source section
Bend & E-filter
Pusling section
Next steps

## Slide 5
Basic setup of a pulsed low energy positron system
e+ source
prebuncher
chopper
buncher
drift tube
accelerator
Target station
pulsing section:
Applies time structure
Accumulates e+
Reduces background
Most important for data quality
accelerator section:
Adjusts e+ transit time
Sets implantation energy
Source section:
22Na-based
Reactor-based
LINAC-based
Moderator
Target station:
Control sample environment
Detect annihilation radiation
Handles backscattered e+
Why pulse the beam?
Needed for positron lifetimes measurements
Pulsing frequency determines time window of measurement
Efficiency of pulsing is essential for time resolution

## Slide 6
Working principle of the new setup
-17.3V
-1kV
-1kV
-1.5 to -3kV
-1.5 to -25kV
-0.5 to -25kV
time
intenstiy
time
time
time
time
time
intenstiy
Pulse generation:
e+ source
prebuncher
chopper
buncher
drift tube
accelerator
Target station
Guiding solenoid ()
cw
Potential (in ):
Pulsing frequency

## Slide 7
Current state of the pulsed system

## Slide 8
Positron Group at UniBwM
Concepts of pulsed beams
Source section
Pusling section
Next steps

## Slide 9
Cross section of the source section
solenoids
Transmission W-moderator
(300 µm)
bend
e+
Tungsten shielding
(50 mm)
Extraction lenses
Transfer rod
(source)
22Na source
(1.9 GBq)
Electron gun
(defocused)
Transfer rod (W-moderator)
Annealing chamber
Turbo pump port
Source chamber
minimum pressure

## Slide 10
Positron extraction from the moderator
e+ emission from W-surface
negative positron work function of W
Emission into 7 mT magnetic guiding field
Stepwise acceleration to
GND
-5V
-10V
-15V
-17.3V
-17.3V
Source
capsule
moderator
fixture
PEEK

## Slide 11
Positron extraction from the moderator
e+ emission from W-surface
negative positron work function of W
Emission into 7 mT magnetic guiding field
Stepwise acceleration to
SIMION simulation
GND
Fast positrons
Moderated (slow) positrons
efficiency 0.02 %

## Slide 12
Connection from the source section to the pulsing section
Bend ()
Energy filter
Prebuncher
Balg for alignment compensation
Bend filters fast, non-moderated positrons
Beamline continues horizontally after bend
Guiding solenoids () and correction solenoids () along the beamline
Balg
e+
Solenoids (guiding)

## Slide 13
First diagnostic unit: energy filter after bend
PLEPS Energy Filter measurement (M. Dickmann 2019)
Potential tube
Electrode
Connection port electrode
Exit bend

## Slide 14
Positron Group at UniBwM
Concepts of pulsed beams
Source section
Bend & E-Filter
Pusling section
Next steps

## Slide 15
First pulsing unit: prebuncher
Entry electrode
Exit electrode
Buncher electrode
()
Buncher gap
Exit gap

## Slide 16
Working principle of the prebuncher
e+
Buncher gap
Exit gap
Early
Reference
Late
cw beam enters the prebuncher from the left
Sawtooth signal at the buncher electrode
Energy modulation depending on phase difference to the reference particle
Energy modulation
: energy modulation
: beam energy
: arrival time buncher gap
: positron mass
: focal length
0
-10
-20
-30
-40
10
20
30
40
time [ns]

## Slide 17
Working principle of the prechopper
e+
Buncher gap
Exit gap
Modulated beam drifts through buncher electrode
Bunch of forms
Early
Reference
Late
Gap to gap length is crucial transit time
Transit time must satisfy:
: transit time
: gap-to-gap length
: positron velocity
: period sawtooth signal
0
-10
-20
-30
-40
10
20
30
40
time [ns]

## Slide 18
Working principle of the prechopper
e+
Buncher gap
Exit gap
Bunch exits on the steep flank of sawtooth signal
Early
Reference
Late
Additional bunching at exit electrode
0
-10
-20
-30
-40
10
20
30
40
time [ns]

## Slide 19
Further down the beamline - chopper
corrector plates
Left: DSO
Right: SSO
Two chopper plates are needed
Chopper plate pair
Corrector plate pair
Two different operation modes
Single signal operation (SSO)
Dual signal operation (DSO)
Additional prechopper plate for extention of the time window
Circular aperture (variable )
Chopper plate
Prechopper plate
e+

## Slide 20
Positron Group at UniBwM
Concepts of pulsed beams
Source section
Bend & E-Filter
Pusling section
Next steps

## Slide 21
Next steps
Source section:
  Shielding ( tons, complex geometry)
  Transfer source from containment to instrument
Simulation and fabrication of the chopper
Design of a 25 MHz buncher
(Dissertation L. Ravelli, 2014)
CST Microwave Studio, PIC Solver
TOPAS (GEANT4), P. Oberlaender

## Slide 22
Thank you for your attention!
Interested in slow positron beam physics?
Join us at the SLOPOS-17 in Garmisch-Partenkirchen from the 6th to the 11th September 2026.

## Slide 23
Special thanks to our colleagues and collaborators!
University of the Bundeswehr Munich:
Johannes Lehtonen
Lukas Hackel
Peter Sperr
Gottfried Kögel
Micheal Mayerhofer
Johannes Mitteneder
Werner Egger
Günther Dollinger
Marcel Dickmann
Kangho Lee
Georg Duesberg
Cooperation partners:
Roberto Brusa (Trento)
Riccardo Checchetto (Trento)
Rhea Verbeke (KU Leuven)
Daan Van Havere (KU Leuven)
Frank Lotter (CAE Wuerzburg)
Henk Schut (TU Delft)
Catherine Corbel (Paris)
David Keeble (Dundee)
HZDR:
Andreas Wagner
Maciej Oskar Liedke
Eric Hirschmann
TUM/MLZ:
Christoph Hugenschmidt
Francesco Guatieri
Lucian Mathes
Sebastian Vohburger
The 20th International Conference on Positron Annihilation 2025, Takamatsu, Japan
TU Delft:
Maik Butterling
Stephan Eijt

## Slide 24
Working principle of the prechopper
e+
Buncher gap
Exit gap
Early
Reference
Late
Realistic
sawtooth
sine