## Slide 1: Laser cooling of positronium toward precision measurement
Kenji Shu
RIKEN
Low Energy Electron Positron Physics Workshop at Jefferson Lab

## Slide 2: Simplest atom: Positronium
Contains only light leptons
Negligible weak & QCD effects in calculation
Positronium
Hydrogen
Precise prediction of e.g. energy intervals with me− (= me+ w/ CPT), α, and QED
Textbook system for testing QED

## Slide 3: 1S – 2S precision spectroscopy
ETH Crivelli group,
PRA 113, 032804 (2026)
A few ppb (meas.)
0.5 ppb (theory)
Bottleneck is high temperature of Ps
→ Laser cooling

## Slide 4: Principle of laser cooling
W. D. Phillips, Rev. Mod. Phys. 70, 721(1998).
Photon momentum
Excited state
Repeat
Ephoton
E’photon > Ephoton
Lower state
Lower state
Deceleration
Energy release
Averaged kick = 0

## Slide 5: In the case of Ps laser cooling
Velocity
Probability density
Spontaneous decay rate Γsp
Typical velocity with Maxwell-Boltzmann dist.
Duration for cooling
Lighter leads faster cooling
Ps’s Lyman-α: ~100ns cooling time

## Slide 6: Doppler shift to let Ps absorb only counter-propagating photon
e
Set laser freq. lower
Transition angular freq. for stopped Ps
g
ΔDoppler > 0
ΔDoppler < 0
Energy
Only counter-propagating photon becomes resonant

## Slide 7: Laser properties for Ps cooling
Optical freq. that Ps can absorb
Intensity
Resonant freq. for stopped Ps
Laser freq. dist.
Optical freq. that Ps can absorb
Laser heating!
Time
Laser intensity
Necessary time for enough number of recoils
No commercially available laser → Develop by ourselves
Broad spectrum
to cool various velocity
~100 GHz
Steep cutoff at high freq. side
To avoid heating ~10 GHz
(= Shift by one photon recoil)
Keep cooling for
necessary ~100ns

## Slide 8: Laser system
Put EOM (optical frequency modulator) in a pulsed laser cavity was essentially new

## Slide 9: Laser development

## Slide 10: Developed laser properties
Long
Sweep wide spectrum
Optimized width of single pulse
All requirements fulfilled
Laser frequency shifts in time (chirp) === Chirp cooling ===
Chirp cooling: a pulse decelerate Ps, then chirps for that decelerated Ps, …

## Slide 11: Time for positron: let’s go to KEK

## Slide 12: Laser transport
1.5hr through highway

## Slide 13: Slow Positron Facility
Electron LINAC
50Hz pulsed
50MeV, 600W
Two operation modes
Long pulse (1.2 µs) 1×108 slow e+ /s
Short pulse (1-10ns) 1×107 slow e+ /s
This short pulse mode is really essential since our lasers operate low repetition (~10Hz), requiring synchronization
Pioneered by Ps-ToF measurements and Nagashima-sensei’s Ps− projects, unique facility it is

## Slide 14: Experimental setup
Laser beams
Positron beam
Laser booth
Experimental station

## Slide 15: Measurement principle
0

## Slide 16: Doppler profile of uncooled Ps
(Larger freq. probes faster Ps)

## Slide 17: Laser cooling effect – control measurement –
Spectrum to see laser cooling effect
Ratio of difference by cooling laser
Narrowed to see ultracold

## Slide 18: Laser cooling effect – control measurement –
Cooling laser
Intentionally detuned
Control run

## Slide 19: Laser cooling effect – control measurement –
Cooling laser
Intentionally detuned
Control run
No systematic variation as expected
~4hrs per point

## Slide 20: Laser cooling effect – optimized cooling range –
Optimized to cool Ps to zero velocity

## Slide 21: Laser cooling effect – optimized cooling range –

## Slide 22: Laser cooling effect – optimized cooling range –
×3 increase
< 1.4K (95%CL)

## Slide 23: Consistency check with numerical simulation
Full quantum simulation formalized by Lindblad master equation
Necessary to incorporate atomic coherence (multi levels, ultrafast laser pulses)
105×105 sparse matrices
Solved by custom C++/MPI codes running on Supercomputer Fugaku (RIKEN)
Experimental result was well reproduced

## Slide 24: Next step: 3D cooling
longitudinal
lateral

## Slide 25: 1S – 2S spectroscopy laser and frequency metrology
Fabry-Perot build-up cavity
Single-frequency, high-power cw laser at 486 nm
Ti:S optical frequency comb
cavity mirror
e+ exit aperture
Three-dimensional cooling, a comb-referenced 486 nm laser, and a build-up cavity are ready to operate

## Slide 26: 3D laser cooling & spectroscopy apparatus
Verification of the 1.4 discrepancy
test quantum corrections to the level
antigravity-related transition frequency shift
test quantum corrections to the level
(equivalent level to the g-2 measurements)
1S-2S transition, 1.2 MHz natural linewidth
determination of Rydberg constant at the same uncertainty level with hydrogen, free of the proton charge radius problem

## Slide 27: 3D laser cooling & spectroscopy apparatus
Verification of the 1.4 discrepancy
test quantum corrections to the level
antigravity-related transition frequency shift
test quantum corrections to the level
(equivalent level to the g-2 measurements)
1S-2S transition, 1.2 MHz natural linewidth
determination of Rydberg constant at the same uncertainty level with hydrogen, free of the proton charge radius problem
High intensity beam is critically important

## Slide 28: Positronium interferometer to measure α
Recoil
velocity
Comparison of α measurement
Interferometer
Spectroscopy
~2 Can be calculated only for Ps
Unique measurement by atom without nuclei

## Slide 29: Acknowledgement
Yoshioka group (The University of Tokyo)
K. Shu, Y. Tajima, R. Uozumi, N. Miyamoto, S. Shiraishi, T. Kobayashi, K. Yoshioka (PI)
Asai group (The University of Tokyo) KEK, AIST
A. Ishida, R. W. Gladen, T. Namba, S. Asai, K. Wada, I. Mochizuki, T. Hyodo, K. Ito, K. Michishio, B. E. O’Rourke, N. Oshima
Funding: MEXT Quantum Leap Flagship Program (MEXT Q-LEAP) Grant No. JPMXS0118067246, JST FOREST Program (Grant Number JPMJFR202L), JSPS KAKENHI Grant Numbers JP16H04526, JP17H02820, JP17H06205, JP17J03691, JP18H03855, JP19H01923, JP21K13862, MATSUO FOUNDATION, Mitutoyo Association for Science and Technology (MAST), Research Foundation for Opto-Science and Technology, The Mitsubishi Foundation, Sumitomo Foundation Grant No. 2200632.

## Slide 30: Summary
One-dimensional laser cooling of Ps
Next steps: three-dimensional laser cooling and precision spectroscopy
Chirp cooling using the 1S-2P transition in the counter-propagating configuration
A chirped train of optical pulses at 243 nm cools gaseous Ps rapidly
1S-2S transition frequency measurements revisited
Matter-wave interferometry
Bose-Einstein condensation and comparison with exciton (e-h pair) BEC (not covered in this talk)
K. Yamada et al., Phys. Rev. Applied 16, 014009 (2021).
Cooling laser:
K. Shu et al., Phys. Rev. A 109, 043520 (2024).
Demonstration:
K. Shu et al., Nature 633, 793 (2024).