## Slide 1: AI NMR Extraction for Spin-1 Signals
Devin Seay, Dustin Keller, Ishara Fernando

## Slide 2: Outline
Polarization Extraction Methods (for )
Neural Networks
Preliminary results (for vector polarization)
Tensor Polarization
Observations & Outlook

## Slide 3: Extracting Deuteron Polarization
Can fit a signal by average the dependance on the azimuthal angle
  ,
Polarization Approximated as

## Slide 4: Extracting Deuteron Polarization
Thermal Equilibrium (TE)
  When lattice (L-Helium) and the target material are at the same temperature, we have Boltzmann equilibrium  )
  Assuming linearity of Q-Meter system, relationship between area and polarization is linear, i.e.,:
    , where is a calibration constant
    NMR Signal: , is the absorption function and is the magnetic susceptibility

## Slide 5: Extracting Deuteron Polarization
TE method comes with considerable error (~4% relative error but sometimes as much as 7% for standard spin-1 fitting)
  Error propagated from change in area of TE signal and fitted signal.
  TE state takes very long to reach (can take several hours, ie ND3).
  Dulya type fitting is prone to systematic errors and susceptible to signal-to-noise.
  Dulya type fitting not possible for RF manipulated signal.

## Slide 6: Q-Meter Limitations
Sources of error:
  cable length (Tuning errors)
  Calibration Constant
  Changes in RF environment
  Temperature Change
  Statistical errors dependent on DAQ

## Slide 7: Artificial Neural Networks

## Slide 8
Loss Function:
Minimize:

## Slide 9: Goals
(Reduce fit errors) increase accuracy and precision (for spin ½ and 1)
Achieve reliable results even with large range of noise and shifts
Develop flexible software that improves reliability even when working Q-meter outside its design specifications
Enable real-time polarization readings
Apply to ss-RF/AFP type manipulations

## Slide 10: Why Neural Networks?
Most Flexible ML approach to regression problems (UAT)
Very fast inference is possible (~ms scale updates with standard GPU)
  More accurate real-time polarization monitoring
Can do more with multidimensional information
Common libraries help to leverage basic hardware

## Slide 11: Data Generation
Generated 1M data points varying over polarization and noise level (0% - 10% relative error per bin)
Deuteron lineshape generated by analytical function
Baseline simulated from Q-Meter circuitry parameters
  U: Voltage
  : Stray capacitance
  : Capacitance
  : Current
  : Phase
  : Filling Factor (of coil)
  : Cable length
Data generated under various conditions of parameters to generalize

## Slide 12: Preliminary Results

## Slide 13
Results for P = 2% - 60%
Relative Error ~ 0 – 10% per bin
SNR ~ 1-2
Median RPE: 0.34%
Mean RPE: 0.54%
STD: 0.57%

## Slide 15
Results for P = 0.04% - 2%
Relative Error ~ 0 – 1% per bin
SNR ~ 1-2
Median RPE: 2.9%
Mean RPE: 5.13%
STD: 5.32%

## Slide 17: Tensor Polarization

## Slide 18: Semi-Saturated Radiofrequency (ss-RF)
Relaxation Pathways
https://arxiv.org/abs/1707.07065

## Slide 19: Principles of ss-RF
Spin-Temperature Consistency
  Hole burning locally erases non-equilibrium state biases by restoring partial equilibrium
  Burning acts as mirror image of DNP, driving spin transition in opposite direction
Differential Binning
  Partitioning signal into frequency beams and manipulating/measuring each subset
Rates Response
  Peak achieved from hole burning is ½ area of burned area (in high RF power limit)

## Slide 20: Burning Simulation
Applied Burn

## Slide 21: Future Machine Learning Endeavors
1D Case:
  (bin and in domain only) to extract and invariantly of RF manipulation
2D Case:
  Calculate and along and
   Train model with smaller, synchronized, phase-shifted tiemsteps
   More information to train on!

## Slide 22: Thank you!

## Slide 23: Leftovers