## Slide 1: Measurement of ss-RF Decay Rate
Chhetra Lama
Date 10/13/2025

## Slide 2
C12-15-005: Azz for x>1
C12-13-011: The b1 experiment
30 Days in Jlab Hall C
A- Physics Rating
44 Days in Jlab Hall C
A- Physics Rating
RunGroup Spokespersons
Chen, Day, Higinbotham, Kalantarians, Keller
Long, Rondon, Slifer, Solvignon
Acknowledgement
10/13/2025 b1/Azz Tensor Collaboration
DOE Award DE-FG02-88ER40410

## Slide 3
Motivation for ss-RF Decay Rate
Theoretical Background
Experimental Method
UNH Preliminary Result
Conclusion
08/22/2025 Proposal Defense Chhetra Lama
08/22/2025 Proposal Defense Chhetra Lama
Outlook
10/13/2025 b1/Azz Tensor Collaboration

## Slide 4: Motivation
Current status:
  ss-RF & NMR cannot happen simultaneously
  Working towards optimizing measurement timing between ss-RF applications
08/22/2025 Proposal Defense Chhetra Lama
10/13/2025 b1/Azz Tensor Collaboration
Goal: Demonstrate full target polarization cycle for beam operations.

## Slide 5: Experimental Setup for ss-RF at UNH
08/22/2025 Proposal Defense Chhetra Lama
NMR coil\
ss-RF
coil
NMR Coil
ss-RF
10/13/2025 b1/Azz Tensor Collaboration

## Slide 6: ss-RF/ Hole burning Effect
08/22/2025 Proposal Defense Chhetra Lama
Black= no ss-RF line
Green= During the Pulse
Blue= Difference
10/13/2025 b1/Azz Tensor Collaboration
Black= no ss-RF line
Green= During the Pulse
Blue= Difference
P~ 9% on warm irrad. ND3

## Slide 7: ss-RF/Hole burning Effect Continued
08/22/2025 Proposal Defense Chhetra Lama
10/13/2025 b1/Azz Tensor Collaboration Chhetra Lama
10/13/2025 b1/Azz Tensor Collaboration
Black= no ss-RF line
Green= During the Pulse
Blue= Difference
P = 27%

## Slide 8: ss-RF Relaxation Extraction Technique
08/22/2025 Proposal Defense Chhetra Lama
Total Power on Target = 223 mW
Duration =10 Sec
Just a difference between
With the subtraction of fourth order polynomial fitting
10/13/2025 b1/Azz Tensor Collaboration Chhetra Lama
10/13/2025 b1/Azz Tensor Collaboration
Black line – Green line. Blue

## Slide 9: Relaxation Extraction Technique Continued
08/22/2025 Proposal Defense Chhetra Lama
10/13/2025 b1/Azz Tensor Collaboration

## Slide 10
08/22/2025 Proposal Defense Chhetra Lama
Relaxation Extraction Technique Continued
10/13/2025 b1/Azz Tensor Collaboration
DNP Microwave was on all the time

## Slide 11
08/22/2025 Proposal Defense Chhetra Lama
Preliminary Results
10/13/2025 b1/Azz Tensor Collaboration
S.N | location | Power on Target | Pulse duration | Tau Bump | Tau Dip | Sample
1 | Left peak | 2mW | 10 s | 273 38.2 s | 702124.5 s | ND3
2 | Left peak | 2mW | 11 s | 187 40.6 s | 520 99.8 s | ND3
3 | Left peak | 7mW | 12 s | 359 44.3s | 47059.8 s | ND3
4 | Left peak | 22mW | 10 s | 409 49.7s | 381 79.6 s | ND3
5 | Left peak | 223mW | 3 s | 549 117.9 | 335 49.8 s | ND3
6 | Left Peak | 223mW | 15 s | 78 5.05s | 62 7.27 s | Butanol
7 | Left peak | 223mW | 35 s | 48 6.29s | 67 7.33 s | Butanol
S.N | location | Power on Target | Pulse duration | Tau Bump | Tau Dip | Sample
1 | Left peak | 2mW | 10 s |  |  | ND3
2 | Left peak | 2mW | 11 s |  |  | ND3
3 | Left peak | 7mW | 12 s |  |  | ND3
4 | Left peak | 22mW | 10 s |  |  | ND3
5 | Left peak | 223mW | 3 s |  |  | ND3
6 | Left Peak | 223mW | 15 s |  |  | Butanol
7 | Left peak | 223mW | 35 s |  |  | Butanol

## Slide 12: What is Goodness of Pulse ?
Power on target (mw)
Duration of Pulse(s)
Goodness of Pulse
It is basically the ratio of the power applied on target from the signal generator to manipulate the spins population to its duration.
It is measured in
10/13/2025 b1/Azz Tensor Collaboration

## Slide 13: 𝝉 vs Goodness of the Pulse
08/22/2025 Proposal Defense Chhetra Lama
10/13/2025 b1/Azz Tensor Collaboration
Preliminary
𝝉_ND3 ~ (6-10) 𝝉_butanol

## Slide 14: 𝝉 vs Goodness of the Pulse
08/22/2025 Proposal Defense Chhetra Lama
10/13/2025 b1/Azz Tensor Collaboration
Preliminary
𝝉_ND3 ~ (6-10) 𝝉_butanol

## Slide 15: Main Takeaways
08/22/2025 Proposal Defense Chhetra Lama
The Preliminary result shows ss-RF effect on ND3 is sharper than Butanol
First step of the analysis is completed. Since data is noisy. We are planning to retake the data and come with the better and final version of the ss-RF tau for both the ND3 and butanol by the end of 2025.
The Tau for ND3 is much longer than that for the Butanol.
We are ready to repeat with the cold irrad. ND3 (we need some please).
10/13/2025 b1/Azz Tensor Collaboration

## Slide 16: ss-RF visual comparison between Butanol and ND3
08/22/2025 Proposal Defense Chhetra Lama
Microwave was on
10/13/2025 b1/Azz Tensor Collaboration
Irrad. Butanol
Warm Irrad. ND3
P ~ 40%
P ~ 9 %

## Slide 17: ss-RF visual comparison between Butanol and ND3
08/22/2025 Proposal Defense Chhetra Lama
Black= no ss-RF line
Green= During the Pulse
Blue= Difference
Black= no ss-RF line
Green= During the Pulse
Blue= Difference
Note: Super Noisy data
10/13/2025 b1/Azz Tensor Collaboration

## Slide 18: Area lost vs Area Gain visualization
08/22/2025 Proposal Defense Chhetra Lama
10/13/2025 b1/Azz Tensor Collaboration Chhetra Lama
Note: super noisy
ratio of two lines
Area ratio
Actual Power on the Target =33.48dBm

## Slide 19: Power on a Target
08/22/2025 Proposal Defense Chhetra Lama
10/13/2025 b1/Azz Tensor Collaboration Chhetra Lama
RF generator
Switch
LZY-22 + Amp
Coil to target
Long Cables
# dBm
-1dBm
+43dBm
-3dBm
= total sum
S.N | Power on RF generator (in dBm) | Power on the Target(dBm)
1 | -5 | 33.48
2 | -15 | 23.48
3 | -20 | 18.48
4 | -25 | 13.48

## Slide 20: Experimental Setup for ss-RF
08/22/2025 Proposal Defense Chhetra Lama
08/22/2025 Proposal Defense Chhetra Lama
  Technique Generated by D. Keller & UVA Polarized Target Lab[1,2]
  Additional RF coils to manipulate the spin within NMR frequencies to minimize while having a minimal or enlargement factor on
  Area lost of gives ½ area gained
  is measured by line shape method from Abragam was used that allows for manipulated spin states with different polarizations at different frequencies (and thus different values of ) [2,3]
  UVA achieved using ss-RF[1] on peak and shoulder of
  UVA measurement agrees with independent UNH extraction within experimental uncertainty
[1] D. Keller, et al., NIM A 981, 164504 (2020)
[2] D. Keller, Eur. Phys. J. A 53, 155 (2017)
[3] A. Abragam, Principles of Nuclear Magnetism (1961)

## Slide 21: ss-RF/Hole burning Relaxation
08/22/2025 Proposal Defense Chhetra Lama
10/13/2025 b1/Azz Tensor Collaboration Chhetra Lama
Black= no ss-RF line
Green= During the Pulse
Blue= Difference
Black= no ss-RF line
Green= During the Pulse
Blue= Difference